THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD VIA ZOOM.COM ON THURSDAY, JULY 23, 2020 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member and Mayor Gahan, President. Nathan Grimes was absent

ALSO PRESENT:  April Dickey, Linda Moeller, Rob Sartell, Larry Summers, Wes Christmas and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES: 

Mr. Wilkinson moved to approve the July 9, 2020 Regular Meeting Minutes, Mayor Gahan second, all voted in favor with the exception of Mr. Grimes who abstained.

BIDS/CONTRACTS:

1. Rob Sartell re: Professional Services Agreement with Clark Dietz for Basin 13 Lift Station Upgrade

Mr. Sartell presented a bid for the design of the transition of the Basin 13 temporary pump station to a permanent station to eliminate any potential SSO’s at that site.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

2. Wes Christmas re: Clark Dietz Change Order No. 6

Mr. Christmas presented Change Order No. 6 in the amount of $13,350.75 and explained that this is for the Silver Hills Project as part of the negotiations and route identification with the property owner. He added that it required the removal of a garage building on one of the properties and this price reflects the price to remove that building, cleanup and restoration.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

Mrs. Dickey presented an adjustment request for Carter Management Co. in the amount of $1,390.08 for a leak in the line between the meter and the building. She explained that the water went into the ground, they never saw any water leaking, the leak was repaired by AAA plumbing and consumption is back to normal. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented an adjustment request for Benigno Moran Martinez in the amount of $26,373.12 for a leak in the outside line between the meter and the faucet. She explained that the water went into the yard/street, the leak was repaired by Don William’s Plumbing and consumption is back to normal. Supporting documents are attached.

Mr. Willison asked if they paid anything on this.

Mrs. Dickey stated that she believes they have been making the minimum payments.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented an adjustment request for Sarah Campbell in the amount of $1,056.94 for a leak in the main line. She explained that the water went into the yard, the leak was repaired by Elite Enterprises LLC and consumption is back to normal. Supporting documents are attached.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

FINANCIAL REPORT:

TABLED ITEMS:

1.  Steve Triplett, AllTerrain re: Change Order for Bank and Pearl Project

OLD BUSINESS:

1.   Clark Dietz

Mr. Christmas – Silver Hills Project he reported that the work on the garage is complete and they are ready to begin laying pipe.

UTILITY REPORT:

Mr. Sartell presented the Wastewater Utility Report Summary January & February and discussed the following with the board.

JANUARY 2020

Influent / Effluent Quality
The treatment plant was in full compliance with the NPDES permit.

Pretreatment
There were 26 grease trap inspections submitted.
Versa Designed Surfaces had a daily maximum CBOD violation which required an informal notice.

Facililty Operations
95 dry tons of bio solids were removed from the WWTP.
The WWTP was at 103% of its Total Suspended Solids design limit and at 56% of its CBOD design limit.  
There were 3.45 inches of rain for the month

Preventative and Unscheduled Maintenance
219 preventative work orders were completed and 22 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Replaced lower gravity belt on the #1 Belt Filter Press. 
Unstopped #1 pump at Prosser Lift Station.
Cleaned wet well at The Pines LS.
Cleaned floats/transducer at Old Ford Road, Camp Ave., Charlestown Road and The Pines LS. 
Rebuilt the Air Relief Valve for the #2 pump at Old Ford Road LS.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 14,143 | 14,143 |
| Sanitary Sewer Televised/ft. | 15,405 | 15,405 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 3 | 3 |
| Locates | 588 | 588 |
| Pipe Patches | 0 | 0 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 10 | 0 | 2 | 5 | 0 | 3 |

Sanitary Sewer Overflow Monitoring
There were 0 rain events that required Stantec monitoring.

Preventative and Unscheduled Maintenance
40 preventative work orders were completed and 18 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

5				0				0
#Main Line Repairs		#Lateral Repairs		Easement Maintenance

3				3				2

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Wick’s Pizza and the Hitching Post.  FOG management.

Preventative

Basin #27 – Oxford Dr.					Basin #6 – MH #18 to MH #19
Basin #11 – Griffin St.   					Basin #34 – Blackiston Mill Rd.
Basin #19 – MH #51A2 to MH #51A

Monthly Routine Cleaning and CCTV				
Basin #1A – 873ft.		Basin #2 – 375ft.	Basin #6 – 198ft.	Basin #7 – 100ft.
Basin #11 – 553ft.		Basin #16 – 509ft.	Basin #27 – 975ft.	Basin # - 8,085ft.
Basin #34 – 105ft

Facility Safety
The monthly safety inspection rating was 98.44%
Safety Training was on Blood Borne Pathogens

Projects

Reline New Albany
No lining in January

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Wet Weather Clarifier Rehab

Current Progress (1/13/20 – 1/17/20) 
 Mitchell and Stark returned to the project this week and worked 2 days (Tuesday & Wednesday) with a short crew. They completed welding the remainder of vertical steel on the new angle trusses on the north/west and south/east corner of clarifier #2. No other work performed. 

Current Progress (3/9/20 – 3/13/20) 
 Mitchell and Stark returned to the project this week after being shut down for the winter and waiting on equipment deliveries. They removed the existing walk bridge on clarifier #6 and installed the new drive cage, sludge collection well, influent feed well, the lower counterweight support arm and header support arm. They installed the new suction header and miscellaneous mechanicals and stainless bolts, nuts and fasteners in clarifier #6. The counter weights had not been shipped to date so they could not continue with full assembly of #6. They moved the crane location and started drilling the new concrete base for anchor bolts to reset the existing center column in clarifier #2. 

 Current Progress (3/16/20 – 3/20/20) 
 Mitchell and Stark worked on wet weather clarifier #2 this week. They set the existing center base, installed the new drive cage, installed the new sludge collection well and the steel frame supports for the influent feed well. 

 Current Progress (3/23/20 – 3/27/20) 
 Mitchell and Stark worked on wet weather clarifier’s #2 and #6 this week. They installed the influent well, the counterweight and suction support arms along with the counterweights, suction header, support brackets. They also re-set the existing walk bridge on Clarifier # 2. M&S moved the crane to Clarifier #6 and installed the counterweights, support brackets and re-installed the walk bridge on #6.

Silver Hills Slope Project/Dent Ave. Lift Station
• MONDAY 3/02/20- APC off. Sub-contractor Phillippe finished their work on the shelter.
• TUESDAY 3/03/20- APC off. Sub-contractor Delta worked on electrical.
• WEDNESDAY 3/04/20- APC off. Held a jobsite meeting and came up with a timeline to mill and pavethe project. Tentatively set to mill next Wednesday and then pave the whole job the next day.
• THURSDAY 3/05/20- APC off. Sub-contractor Delta worked on electrical.
• FRIDAY 3/06/20- APC off. No Sub-contractor on site. No work performed.
• MONDAY 3/09/20- APC installed the pumps and switches to Wet Well 1.
• TUESDAY 3/03/20- APC off.
• WEDNESDAY 3/04/20- APC off.
• THURSDAY 3/05/20- APC off. Sub-contractor Delta installed Telemetry/Radio Panel.
• FRIDAY 3/06/20- APC off. No Sub-contractor on site. No work performed.

FEBRUARY 2020

Influent / Effluent Quality
The treatment plant was in full compliance with the NPDES permit.

Pretreatment
There were 12 grease trap inspections submitted.
The Indiana Department of Environmental Management completed its semi decade audit of our Pre-Treatment Program. Minor changes were recommended to record keeping.

Facililty Operations
99 dry tons of bio solids were removed from the WWTP.
The WWTP was at 69% of its Total Suspended Solids design limit and at 46% of its CBOD design limit.  
There were 3.48 inches of rain for the month

Preventative and Unscheduled Maintenance
200 preventative work orders were completed and 15 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Replaced motors on the Polyblend units
Cleaned gravel out of the check valves and wet well to the Drainage Pump Station at the WWTP.
The annual inspection and repairs took place on all of our Cranes and Hoists. 
Cleaned floats at The Pines, Crystal Creek, Old Ford Road. 
The annual inspection and repairs took place on all of our Generators.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 14,638 | 28,781 |
| Sanitary Sewer Televised/ft. | 15,405 | 27,807 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 22 | 25 |
| Locates | 565 | 1,153 |
| Pipe Patches | 0 | 0 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 23 | 0 | 1 | 18 | 0 | 3 |

Sanitary Sewer Overflow Monitoring
There were 0 rain events that required Stantec monitoring.

Preventative and Unscheduled Maintenance
29 preventative work orders were completed and 10 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

0				0				0
#Main Line Repairs		#Lateral Repairs		Easement Maintenance

0				1				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Wick’s Pizza and the Hitching Post.  FOG management.

Preventative
Basin #6 – Market St.						Basin #22 – Edgemont
Basin #17 – Gary Dr.   						Basin #23 – South Audubon
Basin #29 – Woodside Dr.

Monthly Routine Cleaning and CCTV			
Basin #33 – 11,451

Facility Safety
The monthly safety inspection rating was 99.22%
Safety training was on CPR and First Aid

Projects

Reline New Albany
No lining in February

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Wet Weather Clarifier Rehab

Current Progress (3/30/20 – 4/3/20) 
 Mitchell and Stark removed a section of the WWTP east perimeter fencing to allow set up of the crane next to clarifier # 5. The fence was set back up around the crane to secure the plant property during this portion of work. The contractor installed the drive cage, sludge collection well, influent well, suction and counterweight support arms, suction header, counterweight assemblies and all steel support frames and brackets in clarifier # 5 this week. 

Current Progress (4/6/20 – 4/10/20) 
 Mitchell and Stark performed touch up painting on scuffed areas from installations on the new clarifier equipment and framework. They re-installed the permanent east side perimeter fencing next to clarifier #5. They installed the new gear box on clarifier #2 that was purchased and provided by the WWTP. M&S worked on final adjustments to the clarifiers #2, #5 and #6 including adjusting the bottom scrapers and skimmer assemblies. The contractor started cleaning up the project site and demobilizing un-needed equipment and materials. The electrical subcontractor has been reconnecting all the wiring connections to the clarifier equipment on #2, #5 and #6 this week. 

Current Progress (4/13/20 – 4/17/20) 
 Mitchell and Stark poured approximately 30 yards of grout bottom in clarifier # 2 this week utilizing a pumper truck. They spent the remainder of their time onsite cleaning up and policing the work zones, demobilizing equipment and excess materials. They moved the small tool trailer offsite this week.

Silver Hills Slope Project/Dent Ave. Lift Station
No activty

CLAIMS:

Mrs. Moeller presented the Sewer Claims Docket for 07/08/20-07/22/20 in the amount of $127,564.87:

| Sewer Claims | Amount | Dept |
| --- | --- | --- |
| OFFICE SUPPLY COMPANY, INC | 420.05 | SEW |
| SECURITY PROS, LLC | 62.00 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| BISZNAIER, MARY | 367.68 | SEW |  |
| Total | 1,969.73 |  |  |
| FLOYD COUNTY TREASURER | 13,986.97 | WWTP |  |
| ACE HARDWARE | 68.02 | WWTP |  |
| ACE HARDWARE | 0.80 | WWTP |  |
| ACE HARDWARE | 13.58 | WWTP |  |
| ACE HARDWARE | 4.72 | WWTP |  |
| ACE HARDWARE | 2.80 | WWTP |  |
| ACE HARDWARE | 15.08 | WWTP |  |
| BLACK DIAMOND | 45.00 | WWTP |  |
| BLACK DIAMOND | 65.00 | WWTP |  |
| BLACK DIAMOND | 45.00 | WWTP |  |
| CINTAS #302 | 84.76 | WWTP |  |
| CINTAS #302 | 84.76 | WWTP |  |
| CLARK-DIETZ | 14,000.00 | WWTP |  |
| HANNUM,WAGLE & CLINE | 8,605.00 | WWTP |  |
| AEBERSOLD FLORIST | 56.94 | WWTP |  |
| CULLIGAN WATER SYSTEMS | 80.00 | WWTP |  |
| CULLIGAN WATER SYSTEMS | 254.40 | WWTP |  |
| EARTH FIRST | 254.20 | WWTP |  |
| BYRNE'S GARAGE INC. | 2,788.58 | WWTP |  |
| BYRNE'S GARAGE INC. | 475.60 | WWTP |  |
| INFORMATION RESOURCES, INC. | 72.00 | WWTP |  |
| GRAINGER | 215.87 | WWTP |  |
| DELTA SERVICES, LLC | 360.00 | WWTP |  |
| DELTA SERVICES, LLC | 434.00 | WWTP |  |
| SPENCER MACHINE & TOOL CO.,INC | 1,887.50 | WWTP |  |
| SPENCER MACHINE & TOOL CO.,INC | 2,837.90 | WWTP |  |
| HOME DEPOT | 28.68 | WWTP |  |
| AIRGAS-MID AMERICA | 150.60 | WWTP |  |
| ESRI | 12,000.00 | WWTP |  |
| ECO-TECH, LLC-WASTE LOGISTICS | 433.12 | WWTP |  |
| ECO-TECH, LLC-WASTE LOGISTICS | 516.56 | WWTP |  |
| LYNN IMAGING | 195.26 | WWTP |  |
| TEAM EJP JEFFERSONVILLE | 30.00 | WWTP |  |
| GOTTA GO INC. | 1,869.00 | WWTP |  |
| GOTTA GO INC. | 1,068.00 | WWTP |  |
| GOTTA GO INC. | 2,136.00 | WWTP |  |
| GAHL LEGAL GROUP, LLC. | 1,512.50 | WWTP |  |
| WESTERN FIRST AID & SAFTEY | 108.85 | WWTP |  |
| WESTERN FIRST AID & SAFTEY | 998.95 | WWTP |  |
| POSZ, WAYNE T. II | 3,675.00 | WWTP |  |
| Total | 71,461.00 |  |  |
| GIBSON LAW OFFICE, LLC | 653.40 | TU |  |
| CITY OF NEW ALBANY | 223.00 | TU |  |
| AMERICAN WATER | 1,650.00 | TU |  |
| FLOYDS KNOBS WATER | 25.60 | TU |  |
| FLOYDS KNOBS WATER | 2,963.82 | TU |  |
| FLOYDS KNOBS WATER | 27.39 | TU |  |
| AT&T | 67.24 | TU |  |
| EDWARDSVILLE WATER CO. | 17.00 | TU |  |
| DUKE ENERGY | 483.58 | TU |  |
| DUKE ENERGY | 367.70 | TU |  |
| DUKE ENERGY | 820.05 | TU |  |
| DUKE ENERGY | 42.68 | TU |  |
| CROWN SERVICES INC | 977.00 | TU |  |
| WEX BANK | 3,964.48 | TU |  |
| BALLEW, PATRICIA A. | 1,000.00 | TU |  |
| BALLEW, PATRICIA A. | 31,000.00 | TU |  |
| GL DEVELOPMENT GROUP, LLC | 179.42 | TU |  |
| SILVER CREEK WATER | 1,320.40 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 8.19 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| CLARK CO. REMC | 129.14 | TU |  |
| CLARK CO. REMC | 162.14 | TU |  |
| CLARK CO. REMC | 314.42 | TU |  |
| CLARK CO. REMC | 136.34 | TU |  |
| CLARK CO. REMC | 140.38 | TU |  |
| VERIZON WIRELESS | 2,322.80 | TU |  |
| HARRISON CO. REMC | 365.95 | TU |  |
| HARRISON CO. REMC | 91.76 | TU |  |
| HARRISON CO. REMC | 41.75 | TU |  |
| DUKE ENERGY | 198.12 | TU |  |
| CROWN SERVICES INC | 992.00 | TU |  |
| QUADIENT FINANCE USA, INC. | 144.64 | TU |  |
| SPECTRUM BUSINESS | 724.90 | TU |  |
| SPECTRUM BUSINESS | 128.29 | TU |  |
| SPECTRUM BUSINESS | 1,589.12 | TU |  |
| SPECTRUM BUSINESS | 156.60 | TU |  |
| GIBSON LAW OFFICE, LLC | 638.55 | TU |  |
| Total | 54,134.14 |  |  |
| Grand Total | 127,564.87 |  |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:35 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk