THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WAS HELD IN THE THIRD FLOOR ASSEMBLY ROOM OF THE CITY-COUNTY BUILDING ON THURSDAY, AUGUST 23, 2018 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member, and Mayor Gahan, President.

ALSO PRESENT:  April Dickey, Linda Moeller, Rob Sartell, Wes Christmas, Larry Summers and Mindy Milburn

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the August 9, 2018 Regular Meeting Minutes as amended, Mr. Wilkinson Second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

- John McCoy – JLM Engineering re: Application for sewer credits.

Mr. McCoy presented an application for 6900 sewer credits on behalf of Charlestown Road Dentistry located at 3739 Charlestown Road for a private sewer connection. He explained that they are currently on a septic system but have access to the sewer system and are in the process of obtaining an easement to run the line through an adjacent property. He stated that they have 7 employees and 6 patient chairs and the estimated usage comes to an average daily flow of 1725 gpd. He added that they plan to start construction immediately after being granted credits and plan to be finished by October 15.

Mr. Sartell stated that he is okay with the request.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

Mrs. Dickey presented an adjustment request for Home Away From Home in the amount of $1,780.61 for a leak in the crawl space and the basement filled with water. She stated that the water went in to the yard and the leak was repaired by Drain Busters Plumbing. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented an adjustment request for Joshua Henderson in the amount of $1,307.13 for a leak in the front of the house near the sidewalk and retaining wall. She stated that the water went into the yard, street and sidewalk and the leak was repaired by Greenwell Plumbing. Supporting documents are attached.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

Mrs. Dickey presented an adjustment request for Amanda Johnson in the amount of $5,267.71 for a leak at the outside water spigot that was leaking in three places under the foundation of the house. She stated that the water went under the foundation and the leak was repaired by Summers Plumbing. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

FINANCIAL REPORT:

Mr. Wilkinson stated that there is no change from the last report.

OLD BUSINESS:

- Wes Christmas, Clark-Dietz

Mr. Christmas, Basin 16 Division B – he stated that road restoration is underway but they are behind because of the wet weather. He explained that they should be pouring curbs on Carlton today, there is ongoing concrete work on Willard Avenue, they are working on replacing sidewalks and curbs and today there will be some additional trench-patching on Morton and Indiana. He added that hopefully by next week Carlton will be restored except for the surface course. Basin 16 Division A – he stated that this continues to move along and they are working on completing the lift station which will continue for the next 2-3 weeks. He added that they will also be doing grading operations over the next four weeks and the project should be substantially complete within the month of September. Basin 14 – he stated that they opened bids at the last meeting and the low bid was from Dan Cristiani. He explained that the bid was responsive and they are waiting on some additional information for proof of responsibility. He stated that once they receive that information, he will come back to make a formal recommendation of award.

UTILITY REPORT:

Wastewater Utility Monthly Report Summary for June

Influent / Effluent Quality
The treatment facility was in full compliance for the month of June

Pretreatment
There were 42 grease trap inspections submitted.
Hitachi has submitted their discharge permit application.
Annual sampling took place for the following industries; K&I Hardchrome, Blue Grass Chemical and LSI Wall Covering.

Facililty Operations
141 dry tons of bio solids were removed from the WWTP.
The WWTP was at 59% of its Total Suspended Solids design limit and at 43% of its CBOD design limit. 
There were 6.03 inches of rain for the month

Preventative and Unscheduled Maintenance
168 preventative work orders were completed and 22 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Cleaned up trash and yard debris that someone had dumped at the Prosser Lift Station. 
Cleaned the wet wells at The Pines and Grant Line Road lift stations.
The Maintenance staff replaced the hydraulic control cylinder on the #1 Belt Filter Press.
We replaced the two Myers pumps at Wolf Lake Lift station with two Flygt pumps. 
Delta Electric finished replacing the soft starts on Oxidation Ditch Blowers #1 - #4 with VFDs.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 7,851 | 40,532 |
| Sanitary Sewer Televised/ft. | 8,918 | 54,486 |
| CIPP Installed/ft | 2,533 | 9,813 |
| Tap Inspections | 12 | 63 |
| Locates | 806 | 4,541 |
| Pipe Patches | 0 | 4 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 12 | 0 | 1 | 5 | 2 | 26 |

Sanitary Sewer Overflow Monitoring
There was 1 rain event that required Stantec monitoring and 0 overflows.

Preventative and Unscheduled Maintenance
34 preventative work orders were completed and 16 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

2				2				0

Main Line Repairs		#Lateral Repairs

2				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning

The line in the alley serving the Exchange, Wick’s Pizza and the Hitching Post.  FOG management.

Basin #11 Griffin St.					Basin #2 2,500 block of Spring Ave.
Basin #20 Village Pines Drive				Basin #4 Coachman Dr.
Basin #2 2,500 block of Glenwood Ct.			Basin #29 Hazelwood Dr.
Basin #29 900 block of Woodside Dr.			Basin #14 Cherokee Dr.
Basin #27 Oxford Dr.					Basin #6 MH #6-18 to MH# 18A to MH#19
BASIN #12 – 5,019ft	BASIN #16 – 508ft	BASIN #32 – 570ft	BASIN #34 – 380ft

Facility Safety
The monthly safety inspection rating was 99.22%
The safety training topic for the month was a review of Confined Space Entry.

Projects

Reline New Albany
We are on hold on lining in Basin #7 until point repairs are made. In the meantime, we will be lining in Basin #12. In Basin #12 850 feet of pipe was lined, 272 feet of line was inspected and 1,274.9 feet were post televised for quality control.

Up Hill Run Lift Station
Preliminary design work is ongoing. Land aquisistion is now in progress.

Jacob’s Creek Lift Station Removal and Interceptor
Installation of 15” pipe and manholes have begun. Contractor has begun some rock excavation along the route. Sealing and pressure testing of some manholes and lines segements have begun.

Wet Weather Clarifier Rehab
Survey work was completed. 79% of design is complete.

Phosphorus Removal Project
The construction permit was completed and submitted to IDEM along with the 14 Month Milestone Progress Report.

CLAIMS:

Mrs. Moeller presented the Sewer Claims Docket for 08/09/18 to 08/22/18 in the amount of $1,513,234.05 that included the following:

| Vendor Name | Amount | Dept |
| --- | --- | --- |
| SILVER CREEK WATER | 1,329.20 | SEW |
| OFFICE SUPPLY COMPANY, INC | 567.91 | SEW |
| OFFICE SUPPLY COMPANY, INC | 17.60 | SEW |
| OFFICE SUPPLY COMPANY, INC | 63.02 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| DATA VAULT | 40.08 | SEW |
| L&D MAILMASTERS, INC. | 221.46 | SEW |
| CROWN SERVICES INC | 600.00 | SEW |
| CROWN SERVICES INC | 600.00 | SEW |
| CK REAL ESTATE LLC | 3,520.18 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| JACOBS,MEGAN | 54.19 | SEW |
| WATHEN, YVONNE | 81.78 | SEW |
| SCHROEDER, ERIN | 36.72 | SEW |
| EHRHART, JEFF | 23.06 | SEW |
| SMILEY, OTTO D. | 46.12 | SEW |
| WHELAN, VIRGINIA | 909.00 | SEW |
| SCHULER BAUER REAL ESTATE | 62.96 | SEW |
| RUSS, GLORIA | 910.87 | SEW |
| KERR, RHONDA | 309.00 | SEW |
| HOUSE, PAT | 142.55 | SEW |
| CITY OF NEW ALBANY | 12,500.00 | SEW |
| Total | 52,595.70 |  |
| JEFF REED LOGGING & TREE SERV | 1,800.00 | WWTP |
| JEFF REED LOGGING & TREE SERV | 1,000.00 | WWTP |
| CLARK-DIETZ | 7,920.27 | WWTP |
| CLARK-DIETZ | 42,425.75 | WWTP |
| CLARK-DIETZ | 3,937.83 | WWTP |
| CLARK-DIETZ | 29,905.74 | WWTP |
| HANNUM,WAGLE & CLINE | 2,450.00 | WWTP |
| HANNUM,WAGLE & CLINE | 17,650.02 | WWTP |
| BEAM, LONGEST AND NEFF LLC | 3,229.00 | WWTP |
| TSI CONSTRUCTION INC | 601,108.55 | WWTP |
| TSI CONSTRUCTION INC | 31,637.30 | WWTP |
| ACE HARDWARE | 10.99 | WWTP |
| ACE HARDWARE | 5.99 | WWTP |
| ACE HARDWARE | 15.78 | WWTP |
| ACE HARDWARE | 55.80 | WWTP |
| ACE HARDWARE | 7.66 | WWTP |
| ACE HARDWARE | 40.45 | WWTP |
| ACE HARDWARE | 19.58 | WWTP |
| ACE HARDWARE | 5.99 | WWTP |
| ACE HARDWARE | 19.55 | WWTP |
| ACE HARDWARE | 14.37 | WWTP |
| ACE HARDWARE | 6.88 | WWTP |
| ACE HARDWARE | 11.56 | WWTP |
| ACE HARDWARE | 46.85 | WWTP |
| ACE HARDWARE | 94.52 | WWTP |
| ACE HARDWARE | 41.42 | WWTP |
| RINKY DINKS | 23.40 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 154.16 | WWTP |
| CLARK-FLOYD LANDFILL LLC. | 9,278.72 | WWTP |
| PREISER SCIENTIFIC | 236.43 | WWTP |
| QUILL | 194.70 | WWTP |
| QUILL | 76.93 | WWTP |
| QUILL | 41.92 | WWTP |
| QUILL | 83.20 | WWTP |
| QUILL | 476.98 | WWTP |
| QUILL | 359.80 | WWTP |
| QUILL | 2.00 | WWTP |
| QUILL | 103.47 | WWTP |
| QUILL | 123.97 | WWTP |
| QUILL | 189.99 | WWTP |
| QUILL | 84.90 | WWTP |
| CINTAS #302 | 48.97 | WWTP |
| CINTAS #302 | 213.44 | WWTP |
| CINTAS #302 | 48.97 | WWTP |
| CINTAS #302 | 213.44 | WWTP |
| CLARK-DIETZ | 1,790.00 | WWTP |
| CLARK-DIETZ | 4,798.00 | WWTP |
| CLARK-DIETZ | 442.50 | WWTP |
| CULLIGAN WATER SYSTEMS | 80.00 | WWTP |
| PEYTON'S BARRICADE & SIGN CO. | 50.00 | WWTP |
| EARTH FIRST | 415.08 | WWTP |
| HAGMANN ENTERPRISES | 88.00 | WWTP |
| WHAYNE SUPPLY CO | 6,425.00 | WWTP |
| WHAYNE SUPPLY CO | 198.00 | WWTP |
| STEMLER PLUMBING, INC | 275.00 | WWTP |
| BYRNE'S GARAGE INC. | 385.79 | WWTP |
| BYRNE'S GARAGE INC. | 196.81 | WWTP |
| BYRNE'S GARAGE INC. | 813.62 | WWTP |
| BYRNE'S GARAGE INC. | 100.00 | WWTP |
| BYRNE'S GARAGE INC. | 488.50 | WWTP |
| BYRNE'S GARAGE INC. | 74.27 | WWTP |
| FRAKES ENGINEERING | 1,146.10 | WWTP |
| J.R. HOE & SONS INC. | 2,346.00 | WWTP |
| DRS. AUTOMOTIVE | 747.06 | WWTP |
| S & M PRECAST | 511.00 | WWTP |
| S & M PRECAST | 958.00 | WWTP |
| BIOCHEM, INC. | 4,890.16 | WWTP |
| DELTA SERVICES, LLC | 264.00 | WWTP |
| DELTA SERVICES, LLC | 483.00 | WWTP |
| DELTA SERVICES, LLC | 191.00 | WWTP |
| DELTA SERVICES, LLC | 6,500.00 | WWTP |
| DELTA SERVICES, LLC | 973.69 | WWTP |
| C.C.E., INC. | 64,000.00 | WWTP |
| C.C.E., INC. | 24,000.00 | WWTP |
| STANTEC CONSULTING SERVICES | 1,362.93 | WWTP |
| GRIPP, INC. | 482.05 | WWTP |
| EYE-TRONICS | 326.01 | WWTP |
| OFFICE DEPOT | 66.49 | WWTP |
| OFFICE DEPOT | 279.99 | WWTP |
| OFFICE DEPOT | 14.81 | WWTP |
| ERNST CONCRETE | 394.76 | WWTP |
| WASH-O-RAMA CAR WASH | 66.00 | WWTP |
| RABEN TIRE CO. | 1,176.40 | WWTP |
| CRUM'S HEATING & COOLING | 3,569.00 | WWTP |
| CRUM'S HEATING & COOLING | 178.25 | WWTP |
| JACOBI OIL SERVICE, INC. | 1,813.44 | WWTP |
| QUARTZ LAMPS INC | 6,990.00 | WWTP |
| RIVER CITY WORK WEAR | 318.50 | WWTP |
| RIVER CITY WORK WEAR | 104.90 | WWTP |
| HACH COMPANY | 1,274.67 | WWTP |
| ECO-TECH, LLC-WASTE LOGISTICS | 381.76 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 795.00 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 93.60 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 2,066.31 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 54.57 | WWTP |
| IUPPS | 725.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| NAPA OF NEW ALBANY | 374.76 | WWTP |
| NAPA OF NEW ALBANY | 49.98 | WWTP |
| NAPA OF NEW ALBANY | 8.99 | WWTP |
| NAPA OF NEW ALBANY | 6.99 | WWTP |
| NAPA OF NEW ALBANY | 21.27 | WWTP |
| NAPA OF NEW ALBANY | 8.98 | WWTP |
| NAPA OF NEW ALBANY | 33.21 | WWTP |
| NAPA OF NEW ALBANY | 19.20 | WWTP |
| FROST BROWN TODD, LLC | 157.50 | WWTP |
| SOURCE 1 ENVIRONMENTAL, LLC | 2,441.18 | WWTP |
| GOTTA GO INC. | 1,701.00 | WWTP |
| GOTTA GO INC. | 1,944.00 | WWTP |
| GOTTA GO INC. | 729.00 | WWTP |
| CONSTELLATION NEWENERGY | 161.54 | WWTP |
| COVERALL SERVICE COMPANY | 1,075.00 | WWTP |
| ERS-OCI WIRELESS | 750.00 | WWTP |
| D&D PRODUCTS | 115.00 | WWTP |
| WATERLOGIC USA INC | 360.00 | WWTP |
| VALVOLINE, LLC | 40.78 | WWTP |
| VALVOLINE, LLC | 278.75 | WWTP |
| 502 EQUIPMENT | 2,914.00 | WWTP |
| 502 EQUIPMENT | 419.50 | WWTP |
| HIGHNOTE | 181.86 | WWTP |
| LANTRIP, WILLIAM | 100.00 | WWTP |
| AWP, INC | 650.00 | WWTP |
| CITY OF NEW ALBANY | 78,030.00 | WWTP |
| Total | 994,208.15 |  |
| INDIANA AMERICAN WATER | 23.79 | TU |
| INDIANA AMERICAN WATER | 23.79 | TU |
| INDIANA AMERICAN WATER | 46.53 | TU |
| GIBSON LAW OFFICE, LLC | 865.38 | TU |
| BIG O TIRES | 419.14 | TU |
| CLARK CO. REMC | 190.06 | TU |
| CLARK CO. REMC | 129.62 | TU |
| CLARK CO. REMC | 166.35 | TU |
| CLARK CO. REMC | 344.12 | TU |
| CLARK CO. REMC | 143.11 | TU |
| CLARK CO. REMC | 182.16 | TU |
| STORMWATER\DRAINAGE FUND | 398,690.55 | TU |
| HARRISON CO. REMC | 391.69 | TU |
| HARRISON CO. REMC | 85.39 | TU |
| FLOYDS KNOBS WATER | 1,372.07 | TU |
| FLOYDS KNOBS WATER | 1,675.18 | TU |
| AT&T | 67.24 | TU |
| EDWARDSVILLE WATER CO. | 17.00 | TU |
| DUKE ENERGY | 24.17 | TU |
| DUKE ENERGY | 666.26 | TU |
| DUKE ENERGY | 55.77 | TU |
| DUKE ENERGY | 393.36 | TU |
| DUKE ENERGY | 161.83 | TU |
| DUKE ENERGY | 1,350.27 | TU |
| DUKE ENERGY | 837.41 | TU |
| DUKE ENERGY | 33.17 | TU |
| DUKE ENERGY | 640.37 | TU |
| XYLEM WATER SOLUTIONS USA | 914.08 | TU |
| XYLEM WATER SOLUTIONS USA | 133.30 | TU |
| XYLEM WATER SOLUTIONS USA | 4,079.85 | TU |
| XYLEM WATER SOLUTIONS USA | 342.78 | TU |
| XYLEM WATER SOLUTIONS USA | 121.88 | TU |
| XYLEM WATER SOLUTIONS USA | 249.85 | TU |
| XYLEM WATER SOLUTIONS USA | 482.94 | TU |
| XYLEM WATER SOLUTIONS USA | 12.58 | TU |
| XYLEM WATER SOLUTIONS USA | 41,975.37 | TU |
| WEX BANK | 6,042.85 | TU |
| SPECTRUM BUSINESS | 599.90 | TU |
| SPECTRUM BUSINESS | 1,385.77 | TU |
| GIBSON LAW OFFICE, LLC | 865.38 | TU |
| DUKE ENERGY | 227.89 | TU |
| Total | 466,430.20 |  |
| Grand Total | 1,513,234.05 |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:28 a.m.

_____________________________			____________________________

Mayor Gahan, President				Mindy Milburn, Deputy City Clerk