THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD IN THE THIRD FLOOR ASSEMBLY ROOM OF THE CITY-COUNTY BUILDING ON THURSDAY, SEPTEMBER 22, 2016 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, president.

ALSO PRESENT:  April Dickey, Linda Moeller, Rob Sartell, Shane Gibson, Scott Blair, Larry Summers and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the September 8, 2016 Regular Meeting Minutes with corrections, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

- Rob Sartell re: Bids for Woodland Drive

Mr. Sartell presented the following bids for Woodland Drive where a pipe collapsed and recommended going with All Terrain:

Vendor		Open Cut		Pipe Burst

All Terrain		$28,125.00		$26, 200.00

C.C.E.			$36,600.00		No Bid

Harbison		$47,210.00		No Bid

Lawyer		$30,950.00		$41,123.00

Mr. Grimes asked how long the pipe was.

Mr. Sartell replied

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

Mr. Gibson

Mr. Sartell stated that they did that job inhouse so it is good.

Mr. Gibson stated that the easements were supposed to be done before the work was done but for some reason     He said that he now has easements that he wanted Mr. Sartell to

Mr. Grimes asked if they could get copies of them also.

Mr. Gibson

Mr. Wilkinson moved to approve the easements, Mr. Grimes second, all voted in favor.

Mr. Gibson stated that an opportunity has arose   QRS has approached the city about selling their property.   He said that phase 2 has been completed       $2.5M over ten year period and will be financed by the owner.  He said that he believes we budgeted for land purchases and recommended that the board move forward on it.

Mr. Sartell stated that they could use it for clarifiers, storage and alternative energy sources.

Mr. Gibson stated that the appraisal came back at $2.6M

Mr. Grimes stated that he would like tha

Mr. Wilkinson moved to approve proceeding with the purchase, Mr. Grimes second, all voted in favor.

SEWER ADJUSTMENTS:

FINANCIAL REPORT:

Mr. Wilkinson stated that there were no changes from the last report.

NEW BUSINESS:

- Pat Kelley re: Problem in sewer line at Kelley Building at 2113 State Street

Mr. Pat Kelley stated that they have been having trouble with the line going out to the main sewer which they have had jetted several times.  He also stated that they have had it      and it still backs up and they have to close their building when that happens.

Mr. Sartell passed out maps and pictures that he reviewed with the board.  He said that he has televised the line and the second time they noticed a piece of plastic wedged    He said that Mr. Kelley reported that he usually has problems when it rains.   He dye tested the   He said that Greenwell      and found that his cable broke off of his line under State Street.    He said that there is really nothing that we can do for him but feels that he needs to

Mr. Billy Greenwell stated that this is about the third cable that has broken     when you camera from the        when you go back    clearly see    when we jet the line it opens up   he said they are here because of the expense of

Mr. Grimes asked if it 11 feet deep.

Mr. Greenwell replied yes and stated that   He said that he thinks another plumber used a dry rotted blow ball and that is what is blowing around.

Mr. Wilkinson asked if he

Mr. Kelley stated that his maintenance man poured dye down it and they didn’t say

Mr. Sartell asked them how long they waited.

Mr. Greenwell replied 10-15 minutes.

Mr. Sartell stated that he waited 20 minutes.

Mr. Greenwell agrees that the downspouts need to be removed but he doesn’t feel that is going to solve the problem.

Mr. Wilkinson asked if he understands that the eve spouts are an illegal hook up.

Mr. Greenwell replied yes

Mr. Sartell

Mr. Greenwell asked if he could camera from his cleanout.

Mr. Sartell replied that they could but when he talks about obstruction issues it means collapsed lines and the responsibility   .

Mr. Kelley asked for clarification on the owner’s responsibilities.

Mr. Sartell replied that it is from the building to the right-of-way.

Mr. Greenwell

Mr. Sartell replied that it has to be a collapse.  He explained that

Mr. Grimes stated that it sounds like there is more investigation that we could do to help them out.

Mr. Sartell stated that he will

OLD BUSINESS:

- Wes Christmas re: Clark Dietz Update

Mr. Christmas    order additional valving and h

Mr. Wilkinson asked if anything is showing up

Mr. Christmas stated that the results of the analysis indicated that

Mr. Wilkinson stated that the Corp of Engineers study will be more detailed and

Mr. Christmas

UTILITY REPORT:

- Rob Sartell re: July 2016 Utility Report

Influent / Effluent Quality

The treatment facility was in incompliance

Pretreatment

Product Specialties has been fined $500.00 for the month of July due to permit violations.

There were 37 grease trap inspections of restaurants and food preparation facilities.

Facililty Operations

67 dry tons of bio solids were removed from the WWTP.

The WWTP was at 84% of its Total Suspended Solids design limit and at 62% of its CBOD design limit.

There were 5.35 inches of rain for the month

Preventative and Unscheduled Maintenance

199 preventative work orders were completed and 25 corrective work orders were completed for the WWTP and Lift Stations

Highlights

The maintenance staff replaced the lower belt on the #1 Belt Filter Press.

The maintenance staff replaced two bad sump pumps in the #520 basement.

The maintenance staff replaced the top belt on the #2 Belt Filter Press and the mixing chamber on the #2 Polyblend.

Xylem replaced the backup float systems in the #120, Charlestown Road L.S. and Mt. Tabor L.S. wet wells with a multi – trode system to prevent pump control failure during high flow events.

The maintenance and collection system crews cleaned wet wells at Grant Line Road, Lafollette and the Pines Lift Stations.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 8,674 | 62,370 |
| Sanitary Sewer Televised/ft. | 7,488 | 53,322 |
| CIPP Installed/ft | 1,065 | 18,277 |
| Tap Inspections | 16 | 75 |
| Locates | 838 | 4,770 |
| Pipe Patches | 0 | 4 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 15 | 0 | 1 | 14 | 5 | 27 |

Sanitary Sewer Overflow Monitoring

There was 1 rain event that required Stantec monitoring and 0 overflows

Preventative and Unscheduled Maintenance

20 preventative work orders were completed and 4 corrective work orders completed for the Collection System. There were 15 Customer Service requests 1 of those requests were for blockages in the main line.

Construction Highlights

Basin #2

Replaced a section of 8” main between MH #25 to MH #25A

Basin #7

Repaired a lateral line in the right of way at 1105 East Spring in the alley.

Basin #9

Added rip rap around MH #72 to stop erosion.

Facility Safety

The monthly safety inspection rating was 96.9%

The safety training topics for July was Basic Electrical Safety with Arc Flash Protection and Lock Out Tag Out Awareness.

Projects

Algae Control System

All clarifiers have had the Launders installed waiting on a letter of Substantial Competeion and Punch List.

McLean Lift Station

Wet Well and the valve vaults have been set along with pipework. The stromwater lines have been repaired from a previous construction project. Shelter overhang has been installed and electrical work is now in progress.

Reline New Albany

We are currently lining Basin #28. Slate Run Road and Old Ford Road in Basin #28 have been lined.  Basin #7 will be next and then back to Basin #10 and some finish work in Basin #15.

SSO Flow Study

This study has been completed.

Grant Line Road Lift Station Project

Site prep has begun at the Lift Station.

Jacobs Creek Lift Station Study

This study has been completed and is now under review.

CLAIMS:

Mrs. Moeller presented the following claims for the period of 09/08/16 to 09/21/16 in the amount of $1,119,115.97:

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:40 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk