THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WAS HELD VIA ZOOM.COM ON THURSDAY, DECEMBER 10, 2020 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, President. 

ALSO PRESENT:  April Dickey, Larry Summers, Linda Moeller, Rob Sartell, and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Wilkinson moved to approve the November 25, 2020 Regular Meeting Minutes, Mr. Grimes second, all voted in favor.

BIDS/CONTRACTS:

Professional Service Agreement Amendment Number 1 for Basin 13 Lift Station

Mr. Sartell stated that this is an amendment to the Basin 13 Lift Station and explained that initially thought that they would ask for quotes and do some of the work in-house, but after reviewing it with the construction crew they concluded that it would eliminate any possible confusion if they did it this way instead. He stated that the total amount is $6,565.00

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

Mayor Gahan reported that New Albany and Floyd County are in the middle of the COVID 19 surge and asked everyone to keep their guard up. He stated that he believes it is important to keep talking about it and to remind everyone that we aren’t out of the pandemic yet. He added that his guess is that it is going to be fairly rough between now and at least the middle of January 2021. He stated that there are city employees that are fighting the virus and while no one is in the hospital it is still a very serious issue. He reminded everyone to stay vigilant and to keep wearing their masks, and stated that we will get through this slowly but surely.

Mr. Sartell stated that they have three employees that have tested positive and are under quarantine as well as one that has been exposed. He added that they have done really well until the recent surge.

SEWER ADJUSTMENTS:

Mrs. Dickey presented an adjustment request for Roger Paschal in the amount of $4,373.76 for a lean in the water main in the detached garage. She explained that the water went onto the garage floor, the leak was repaired by James Baylor Plumbing and water consumption is back to normal. Supporting documents are attached.

Mr. Grimes moved to table the adjustment requests, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented an adjustment request for Marvin in the amount of 	$1,442.52 for a lean in the water line at the crawl space. She explained that the water went under the house into the crawl space, the leak was repaired by CLR Home Renovations & Plumbing LLC and water consumption is back to normal. Supporting documents are attached.

Mr. Wilkinson asked about the reference to a water heater

Mrs. Dickey explained that they have had two leaks and this is the first of the two.

Mr. Grimes moved to table the adjustment requests, Mr. Wilkinson second, all voted in favor.

FINANCIAL REPORT:

Mr. Wilkinson reported that they have one month to go for the year and the numbers are incredibly close. He stated that the total revenue coming in is $13.7M through November and the expenses are $13.8M. He added that this is ~$100,00.00 difference but they are still below budget and has been very consistent.

Mr. Grimes referenced the second page of the profit/loss section and asked about line item 4324.3 for a telephone that has zero expense. He asked if the telephones are in a separate location because a zero balance can’t be correct for that.

Mr. Wilkinson explained that the way the report works is if there is not a bill submitted in Mrs. Moeller’s report the line doesn’t appear. He added that telephones are a separate line item.

Mrs. Moeller stated that it is line item 4324.3

Mr. Wilkinson explained that this is because of the separation of the production plant but telephones are all on one bill.

TABLED ITEMS:

1. Jason Sams re: Will serve letter from Aqua Indiana

Mr. Sartell explained that Mr. Sams has a project on the edge of the service area right next to the Aqua Utility service area and at this time the City doesn’t have the infrastructure to serve him nor will they have any in the near future. He stated that Mr. Sams is requesting a letter from the City to release him from their control so that he can connect to Aqua Utility. He added that he has no issue with this request because it may be 10-20 years before they get infrastructure out at that location.

Mayor Gahan reminded the board that Mr. Sams came to the last meeting and stated that he doesn’t want to hold his project up. He stated that Mr. Gibson has reviewed this request and agrees with Mr. Sartell.

Mr. Wilkinson moved to authorize a letter for release of that property, Mr. Grimes second, all voted in favor.

OLD BUSINESS:

1. Clark Dietz

Mr. Sartell, Silver Hills – he reported that they have gone past their substantial completion date and still have work to complete so he has directed Clark Dietz to start tracking liquidated damages in case they need to use them. He added that they are close but not done yet.

Mr. Wilkinson stated that he would agree with the decision to get that clock started because he was on site many times over the summer when there was no activity for days at a time.

UTILITY REPORT:

Mr. Sartell presented the New Albany Wastewater Utility Monthly Report Summary for September 2020.

Influent / Effluent Quality 
The treatment plant was in compliance with the NPDES permit with the only exception being Phosphorus.

Pretreatment
There were 16 grease trap inspections submitted.
Annual inspections took place at the following permitted dischargers; Bluegrass Chemical, Bruce Fox and Bert R. Huncilman.

Facililty Operations
51 dry tons of bio solids were removed from the WWTP.
The WWTP was at 59% of its Total Suspended Solids design limit and at 31% of its CBOD design limit.  
There were 5.68 inches of rain for the month

Preventative and Unscheduled Maintenance
266 preventative work orders were completed and 24 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Cleaned wet wells at Grantline Road and Cobblers Crossing Lift Stations. 
Replaced 17 UV lamps on Bank A.
Topped off Generators and back up pumps with diesel fuel @ Charlestown Road, Mt. Tabor and Basin #13 Lift Stations.  
Cleaned control floats at Cobblers Crossing Lift Station.
Unstopped the #3 pump at Prosser Lift Station.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 1,684 | 65,845 |
| Sanitary Sewer Televised/ft. | 109 | 51,117 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 3 | 70 |
| Locates | 796 | 6,603 |
| Pipe Patches | 2 | 5 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 10 | 0 | 1 | 5 | 0 | 4 |

Sanitary Sewer Overflow Monitoring
There was 1 rain event that required Stantec monitoring. No overflows.

Preventative and Unscheduled Maintenance
26 preventative work orders were completed and 14 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

1				0				2
#Main Line Repairs		#Lateral Repairs		Easement Maintenance

2				0				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Parlour Pizza and the Hitching Post.  FOG management.

Scheduled Preventative Maintenance
Basin #14 – Cherokee Dr.		Basin #19 – Ellen Ct.		Basin #27 – Oxford Dr.
Basin #9 – West Cottom		Basin #7 – Catherine Place														
Monthly Routine Cleaning and CCTV
Basin #18 – 109ft.

Facility Safety
The monthly safety inspection rating was 99.22%. Safety training covered Confined Space Entry.

Projects

Reline New Albany
No lining in September

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Silver Hills Slope Project/Dent Ave. Lift Station
SATURDAY-SUNDAY 9/5/20-9/6/20- Set and connected structure #6 and laid pipe towards structure #7. They installed the 8” Tee for Mr. Cardoso’s future connection along this length of pipe. Measurements from each structure were taken and will be recorded on the as-built drawings.

• MONDAY 9/7/20- No work performed. Labor Day.

• TUESDAY 9/8/20- Set structure and connected #7.

• WEDNESDAY 9/9/20- Trenched and laid pipe towards structure #8.

• THURSDAY 9/10/20- Trenched and laid pipe towards structure #8, stopping just shy of setting and connecting this structure.

• FRIDAY 9/11/20- Laid pipe from structure #2 towards structure #1. They also set and connected structure #1. They installed the 8” Tee for Mr. Ballew’s future connection along this length of pipe. Measurements from each structure were taken and will be recorded on the as-built drawings.

MONDAY 9/14/20- Set structure #8.

• TUESDAY 9/15/20- Ran pipe from structure #1 to the existing manhole #13 and completed the tie-in on this downstream side of the gravity line.

• WEDNESDAY 9/16/20- Contractor not on site.

• THURSDAY 9/17/20- Contractor not on site.

• FRIDAY 9/18/20- Worked on grading the site, cleaned up last of the debris from the project, grouted the pipes in the new structures. Roy Bellew reminded me to make sure the try to grade the final surface so water will shed towards the creek between structure #3 and #4 as it comes down the hill.

CLAIMS:

Mrs. Moeller presented the following claims for the period of 11/19/20 to 12/09/20 in the amount of $ 901,510.68:

| Sewer Claims | Amount | Dept |
| --- | --- | --- |
| OFFICE SUPPLY COMPANY, INC | 172.38 | SEW |
| OFFICE SUPPLY COMPANY, INC | 34.50 | SEW |
| L&D MAILMASTERS, INC. | 1,379.32 | SEW |
| L&D MAILMASTERS, INC. | 224.80 | SEW |
| CROWN SERVICES INC | 992.00 | SEW |
| SECURITY PROS, LLC | 62.00 | SEW |
| PREFERRED HOME SOLUTIONS | 22.00 | SEW |
| PREFERRED HOME SOLUTIONS | 38.58 | SEW |
| PAUL, CHRISTIN | 35.00 | SEW |
| MORRISON, MARY | 280.86 | SEW |
| GIBBS, KARLA | 70.32 | SEW |
| 2 MG, LLC. | 112.21 | SEW |
| BILLINGS, JOHN | 42.84 | SEW |
| Total | 3,466.81 |  |
| ACE HARDWARE | 5.99 | WWTP |
| ACE HARDWARE | 14.24 | WWTP |
| ACE HARDWARE | 10.35 | WWTP |
| ACE HARDWARE | 5.77 | WWTP |
| ACE HARDWARE | 7.98 | WWTP |
| RETAILERS SUPPLY | 62.25 | WWTP |
| FED EX | 52.75 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 83.84 | WWTP |
| CLARK-FLOYD LANDFILL LLC. | 14,279.22 | WWTP |
| LADUKE'S LAWN & SPRINKLER | 85.00 | WWTP |
| BIG O TIRES | 94.23 | WWTP |
| QUILL | 6.79 | WWTP |
| QUILL | 372.92 | WWTP |
| QUILL | 115.98 | WWTP |
| QUILL | 126.94 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| CLARK-DIETZ | 9,220.13 | WWTP |
| CLARK-DIETZ | 7,517.50 | WWTP |
| CLARK-DIETZ | 4,712.25 | WWTP |
| CLARK-DIETZ | 15,379.00 | WWTP |
| CLARK-DIETZ | 3,100.00 | WWTP |
| STEIN GLASS | 151.50 | WWTP |
| EARTH FIRST | 46.80 | WWTP |
| FRAKES ENGINEERING | 550.00 | WWTP |
| COPIER MART | 201.21 | WWTP |
| USA BLUE BOOK | 108.48 | WWTP |
| STANTEC CONSULTING SERVICES | 3,506.75 | WWTP |
| GRIPP, INC. | 3,568.62 | WWTP |
| OFFICE DEPOT | 89.84 | WWTP |
| OFFICE DEPOT | 3.19 | WWTP |
| OFFICE DEPOT | 49.99 | WWTP |
| HOME DEPOT | 19.94 | WWTP |
| HOME DEPOT | 144.94 | WWTP |
| HOME DEPOT | 24.98 | WWTP |
| AIRGAS-MID AMERICA | 153.00 | WWTP |
| AIRGAS-MID AMERICA | 163.80 | WWTP |
| PRO4MANCE CONTRACTING SERVICES | 2,097.78 | WWTP |
| PRO4MANCE CONTRACTING SERVICES | 1,667.61 | WWTP |
| PRO4MANCE CONTRACTING SERVICES | 1,199.61 | WWTP |
| PRO4MANCE CONTRACTING SERVICES | 8,761.73 | WWTP |
| RIVER CITY WORK WEAR | 684.00 | WWTP |
| RIVER CITY WORK WEAR | 179.96 | WWTP |
| NCL OF WISCONSIN INC | 1,081.15 | WWTP |
| NCL OF WISCONSIN INC | 71.17 | WWTP |
| NCL OF WISCONSIN INC | 726.06 | WWTP |
| HACH COMPANY | 2,460.82 | WWTP |
| ENVIRONMENTAL LABORATORIES INC | 60.00 | WWTP |
| IUPPS | 911.05 | WWTP |
| APPLEGATE FIFER PULLIAM-WIRE | 528.00 | WWTP |
| APPLEGATE FIFER PULLIAM-WIRE | 363.00 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 178.90 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 188.30 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 470.30 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| GOTTA GO INC. | 2,403.00 | WWTP |
| GOTTA GO INC. | 2,670.00 | WWTP |
| NORTON HEALTHCARE | 89.00 | WWTP |
| NORTON HEALTHCARE | 89.00 | WWTP |
| NORTON HEALTHCARE | 89.00 | WWTP |
| WESTERN FIRST AID & SAFTEY | 240.25 | WWTP |
| Total | 91,491.78 |  |
| INDIANA AMERICAN WATER | 134.15 | TU |
| INDIANA AMERICAN WATER | 821.98 | TU |
| GIBSON LAW OFFICE, LLC | 542.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 15.40 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 1,328.80 | TU |
| CLARK CO. REMC | 132.27 | TU |
| CLARK CO. REMC | 191.77 | TU |
| CLARK CO. REMC | 345.31 | TU |
| CLARK CO. REMC | 142.90 | TU |
| CLARK CO. REMC | 141.87 | TU |
| VERIZON WIRELESS | 2,295.82 | TU |
| HARRISON CO. REMC | 363.71 | TU |
| HARRISON CO. REMC | 88.95 | TU |
| HARRISON CO. REMC | 41.28 | TU |
| VECTREN ENERGY DELIVERY | 36.55 | TU |
| VECTREN ENERGY DELIVERY | 144.81 | TU |
| VECTREN ENERGY DELIVERY | 33.31 | TU |
| VECTREN ENERGY DELIVERY | 80.76 | TU |
| VECTREN ENERGY DELIVERY | 17.00 | TU |
| VECTREN ENERGY DELIVERY | 292.57 | TU |
| VECTREN ENERGY DELIVERY | 90.40 | TU |
| EDWARDSVILLE WATER CO. | 17.00 | TU |
| DUKE ENERGY | 357.66 | TU |
| DUKE ENERGY | 204.17 | TU |
| DUKE ENERGY | 30.31 | TU |
| DUKE ENERGY | 16.82 | TU |
| DUKE ENERGY | 19.52 | TU |
| DUKE ENERGY | 19.52 | TU |
| DUKE ENERGY | 58,590.26 | TU |
| DUKE ENERGY | 502.12 | TU |
| DUKE ENERGY | 234.24 | TU |
| DUKE ENERGY | 253.47 | TU |
| JOHN JONES GM CITY / CORYDON | 43,791.00 | TU |
| KIMMEL LAWN SERVICE | 3,500.00 | TU |
| KIMMEL LAWN SERVICE | 3,100.00 | TU |
| CARD SERVICES | 72.38 | TU |
| CARD SERVICES | 18.34 | TU |
| CARD SERVICES | 102.68 | TU |
| CARD SERVICES | 116.63 | TU |
| CARD SERVICES | 152.98 | TU |
| VERIZON CONNECT MWF, INC. | 253.66 | TU |
| SPECTRUM BUSINESS | 599.90 | TU |
| SPECTRUM BUSINESS | 128.29 | TU |
| SPECTRUM BUSINESS | 26.18 | TU |
| SPECTRUM BUSINESS | 1,543.53 | TU |
| INDIANA AMERICAN WATER | 39.99 | TU |
| INDIANA AMERICAN WATER | 19.89 | TU |
| INDIANA AMERICAN WATER | 19.89 | TU |
| INDIANA AMERICAN WATER | 237.75 | TU |
| INDIANA AMERICAN WATER | 93.05 | TU |
| INDIANA AMERICAN WATER | 39.99 | TU |
| INDIANA AMERICAN WATER | 43.55 | TU |
| INDIANA AMERICAN WATER | 220.22 | TU |
| INDIANA AMERICAN WATER | 85.37 | TU |
| INDIANA AMERICAN WATER | 40.59 | TU |
| INDIANA AMERICAN WATER | 39.99 | TU |
| POSTMASTER | 440.00 | TU |
| AT&T | 566.78 | TU |
| DUKE ENERGY | 24.00 | TU |
| DUKE ENERGY | 3,359.52 | TU |
| CROWN SERVICES INC | 944.00 | TU |
| QUADIENT FINANCE USA, INC. | 40.15 | TU |
| GELCO SUPPLY INC-ROOTX | 2,301.72 | TU |
| GIBSON LAW OFFICE, LLC | 638.55 | TU |
| STORMWATER\DRAINAGE FUND | 48,831.33 | TU |
| SANITATION FUND | 164,744.87 | TU |
| BANK OF NEW YORK TRUST CO. | 461,082.00 | TU |
| AT&T | 301.84 | TU |
| CROWN SERVICES INC | 1,192.00 | TU |
| AT&T | 89.53 | TU |
| AT&T | 64.01 | TU |
| Total | 806,552.09 |  |
| Grand Total | 901,510.68 |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:34 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk