THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WAS HELD IN THE THIRD FLOOR ASSEMBLY ROOM OF THE CITY-COUNTY BUILDING ON THURSDAY, OCTOBER 12, 2017 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, president.

ALSO PRESENT:  April Dickey, Larry Summers, Linda Moeller and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the September 28, 2017 Regular Meeting Minutes, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

FINANCIAL REPORT:

Mr. Wilkinson stated that the revenue for year-to-date is about 2% down which is what they were expecting and they spent $355,000.00 on three different bond projects to-date. He added that expenses are running about 5% below budget so they are doing really well.

OLD BUSINESS:

- Wes Christmas re: Clark Dietz Update

Mr. Christmas stated that he has agreements, bonds and insurance from Dan Cristiani for the basin 7 project that they opened bids for and he needs to get copies of that executed today. He added that they received IDEM approval for that project which leaves the acquisitions of the easements. He stated that he does have offers that were compiled after the appraisals were completed and have been compiled into offers and he would like to get authorization to present these to the property owners.

Mr. Grimes asked how many easements are required.

Mr. Christmas stated that there are multiple parcels owned by two property owners.

Mr. Wilkinson moved to authorize Mr. Christmas to move forward with the easement offers, Mr. Grimes second, all voted in favor.

Mr. Christmas explained that they held a work session on the basin 16 storage and piping project to review the project and they are incorporating some of the feedback that they received and intend to have 100% plans by tomorrow. He stated that there is a property acquisition necessary where the storage facility would go and they would like to sit down and discuss the plans so right now he is waiting on a date that works for them.

Mr. Grimes asked if it is an entire parcel.

Mr. Christmas stated that it is just a portion of the parcel.  He stated that once they have the meeting with the property owner it would be appropriate to schedule a public hearing to make them aware of what is going on and the impact it will have on the system. He explained that they could go ahead and advertise to get the bidding process underway in the meantime.

Mr. Wilkinson asked if he wants to get the acquisition done before the public hearing.

Mr. Christmas stated that he would at least like to have the meeting so that they have the opportunity to hear the details.

Mr. Grimes asked if there is an alternate location if they can’t acquire the parcel.

Mr. Christmas stated that there are avenues that the board has if they aren’t open to it

Mr. Grimes asked if it could be done with an easement instead of purchasing the property.

Mr. Christmas stated that if that is the way the board wants to go they could.

Mr. Grimes stated that it could be less expensive for the city.

Mr. Wilkinson asked Mr. Christmas to send the electronic drawings that he used at the work session to Mr. Grimes and added that he was really appreciative of the information as it was presented.

Mr. Christmas stated that he would do that.

Mayor Gahan stated that Mr. Christmas gave him a short presentation and agreed that the illustrations were very helpful to clarify the project.

UTILITY REPORT:

Mr. Sartell reported on the New Albany Wastewater Utility Monthly Report Summary for July 2017

Mr. Grimes asked if the individuals that are getting fined are paying

Mr. Sartell asked Mrs. Dickey if they are receiving the fines from Product Specialties.

Mrs. Dickey replied yes.

Mr. Sartell stated that they aren’t quite to the level where they have to put them on adminsitrative order but they are getting close.

Mr. Grimes stated that he is very intrigued about that and would think after the first fine they would be going out of their way to correct that issue.

Influent / Effluent Quality

The treatment facility was in full compliance for the month of July.

Pretreatment

There were 33 grease trap inspections of restaurants and food preparation facilities.

Product Specialties was fined $7,000.00 for CBOD daily maximum effluent violations.

Annual sampling was conducted at Blue Grass Chemical.

Annual sampling and an Informal Notice was sent to K&I Hardchrome.

Facililty Operations

52 dry tons of bio solids were removed from the WWTP.

The WWTP was at 38% of its Total Suspended Solids design limit and at 41% of its CBOD design limit.

There were 2.45 inches of rain for the month

Preventative and Unscheduled Maintenance

199 preventative work orders were completed and 23 corrective work orders were completed for the WWTP and Lift Stations

Highlights

Crum Heating and Air repaired the fresh air supply fans at the Robert E. Lee lift station.

We had Delta Electric replace the bad soft start on the #3 Philadelphia Mixer with a Cutler Hammer VFD. We also instructed Delta to replace the remaining soft starts on the Mixers with C.H. VFDs. This will give the operators better control of dissolved oxygen levels in the Oxidation Ditches versus soft starts.

The maintenance crew replaced a leaky hydraulic cylinder on the #2 Belt Filter Press.

We cleaned the control floats at Crystal Creek lift station.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 4,428 | 63,650 |
| Sanitary Sewer Televised/ft. | 5,372 | 57,154 |
| CIPP Installed/ft | 3,370 | 14,491 |
| Tap Inspections | 4 | 74 |
| Locates | 819 | 5,234 |
| Pipe Patches | 2 | 14 |
| Call Outs | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 9 | 1 | 1 | 8 | 1 | 29 |

Sanitary Sewer Overflow Monitoring

There were 0 rain events that required Stantec monitoring.

Preventative and Unscheduled Maintenance

36 preventative work orders were completed and 12 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

3				0				2

Main Line Repairs		#Lateral Repairs

1				0

Annual/Semi Annual Routine Sewer Cleaning

Cleaned the sanitary sewer in alley next to the Exchange and Feast restaurants.

Basin #6 MH# 6-18A to 6-19.

Griffin Street.

Oxford Dr.

Cherokee Dr.

Facility Safety

The monthly safety inspection rating was 97.6%

The safety training topics for the month were on Confined Space Entry and Job Site Analysis.

Projects

McLean Lift Station

This project is substantially complete. The punch list has been generated and we are awaiting its completion.

Reline New Albany

We have started lining in Basin #7.  We expect this to be a challenging Basin due line segment lengths and pipe conditions.  3,370 feet of liner was installed.

Grantline Road Lift Station Project

This project is substantially complete. The punch list has been developed and is being addressed.

LED Lighting Project

The lighting project is subtantially complete. Waiting on 5 fixtures and a final walk through.

Bellwood Generator Project

This project is complete. We will have to come back in the fall and reseed.

Up Hill Run Lift Station

Survey work has been completed. Progress meeting was held on July the 10th. NAWU has CCTV the gravity section of the force main to check on condition and lateral connections. Geotechnical analysis is being scheduled.

Jacob’s Creek Lift Station Removal and Interceptor

Survey, geotechnical and wetland mitigation are complete. Easement discriptions are completed. 65% of design, permitting and bid documents are completed.

Construction Garage

The garage is constructed and under roof and the overhead and mandoors are installed. Electrical has been run and energized. The entrance gate has been relocated per specs. Final site grading still remains.

Adams and Cherry Street Sanitary Sewer Extention

Easement agrements have finally been agreed upon and should be signed with in a few weeks.

CLAIMS:

Mrs. Moeller presented the following claims for the period of 09/28/17 to 10/11/17 in the amount of $778,133.72:

| OFFICE SUPPLY COMPANY, INC | 112.50 |  |  | SEW |
| --- | --- | --- | --- | --- |
| L&D MAILMASTERS, INC. | 1,514.05 |  |  | SEW |
| L&D MAILMASTERS, INC. | 376.14 |  |  | SEW |
| L&D MAILMASTERS, INC. | 2,496.50 |  |  | SEW |
| CROWN SERVICES INC | 600.00 |  |  | SEW |
| WELCH, REVA | 180.37 |  |  | SEW |
| Total | 5,279.56 |  |  |  |
| CLARK-DIETZ | 38,950.00 |  |  | WWTP |
| CLARK-DIETZ | 4,125.00 |  |  | WWTP |
| T.A. GINKINS COMPANY, LLC | 4,531.00 |  |  | WWTP |
| T.A. GINKINS COMPANY, LLC | 47,380.00 |  |  | WWTP |
| T.A. GINKINS COMPANY, LLC | 2,500.00 |  |  | WWTP |
| T.A. GINKINS COMPANY, LLC | 7,486.50 |  |  | WWTP |
| CLARK-DIETZ | 2,725.00 |  |  | WWTP |
| UHL TRUCK SALES | 2,205.98 |  |  | WWTP |
| ACE HARDWARE | 152.72 |  |  | WWTP |
| ACE HARDWARE | 17.49 |  |  | WWTP |
| ACE HARDWARE | 6.75 |  |  | WWTP |
| ACE HARDWARE | 74.90 |  |  | WWTP |
| ACE HARDWARE | 57.33 |  |  | WWTP |
| ACE HARDWARE | 9.17 |  |  | WWTP |
| ACE HARDWARE | 25.92 |  |  | WWTP |
| ACE HARDWARE | 19.49 |  |  | WWTP |
| ACE HARDWARE | 55.34 |  |  | WWTP |
| ACE HARDWARE | 11.92 |  |  | WWTP |
| ACE HARDWARE | 17.45 |  |  | WWTP |
| ACE HARDWARE | 29.91 |  |  | WWTP |
| ACE HARDWARE | 22.62 |  |  | WWTP |
| ACE HARDWARE | 111.49 |  |  | WWTP |
| SHERWIN-WILLIAMS | 8.95 |  |  | WWTP |
| SHERWIN-WILLIAMS | 4.50 |  |  | WWTP |
| SPRIGLER DOOR SERVICE | 175.00 |  |  | WWTP |
| BLACK DIAMOND | 65.00 |  |  | WWTP |
| BLACK DIAMOND | 45.00 |  |  | WWTP |
| RETAILERS SUPPLY | 123.56 |  |  | WWTP |
| FED EX | 102.25 |  |  | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 149.67 |  |  | WWTP |
| PREISER SCIENTIFIC | 110.00 |  |  | WWTP |
| QUILL | 81.93 |  |  | WWTP |
| QUILL | 79.96 |  |  | WWTP |
| QUILL | 179.90 |  |  | WWTP |
| QUILL | 35.99 |  |  | WWTP |
| QUILL | 189.99 |  |  | WWTP |
| QUILL | 89.90 |  |  | WWTP |
| QUILL | 99.95 |  |  | WWTP |
| QUILL | 41.37 |  |  | WWTP |
| CINTAS #302 | 56.87 |  |  | WWTP |
| CINTAS #302 | 253.48 |  |  | WWTP |
| CINTAS #302 | 56.87 |  |  | WWTP |
| CINTAS #302 | 253.48 |  |  | WWTP |
| CINTAS #302 | 56.87 |  |  | WWTP |
| CINTAS #302 | 270.91 |  |  | WWTP |
| GRANTLINE GARDEN CENTER, INC. | 15.98 |  |  | WWTP |
| GRANTLINE GARDEN CENTER, INC. | 89.96 |  |  | WWTP |
| FASTENAL COMPANY | 155.40 |  |  | WWTP |
| FASTENAL COMPANY | 2.39 |  |  | WWTP |
| FASTENAL COMPANY | 26.09 |  |  | WWTP |
| FASTENAL COMPANY | 3.00 |  |  | WWTP |
| FASTENAL COMPANY | 27.90 |  |  | WWTP |
| CLARK-DIETZ | 869.91 |  |  | WWTP |
| CDW GOVERMENT INC. | 910.65 |  |  | WWTP |
| ORR SAFETY EQUIPMENT CO. | 490.44 |  |  | WWTP |
| RED WINGS SHOE STORE | 80.75 |  |  | WWTP |
| BYRNE'S GARAGE INC. | 104.86 |  |  | WWTP |
| BYRNE'S GARAGE INC. | 375.31 |  |  | WWTP |
| GRAINGER | 106.08 |  |  | WWTP |
| GRAINGER | 50.98 |  |  | WWTP |
| COPIER MART | 133.13 |  |  | WWTP |
| RAWDON MYERS, INC. | 6,414.75 |  |  | WWTP |
| HOME CITY ICE CO. | 175.00 |  |  | WWTP |
| DLT SOLUTIONS, INC | 375.00 |  |  | WWTP |
| DLT SOLUTIONS, INC | 1,664.68 |  |  | WWTP |
| JOHN JONES GM CITY / CORYDON | 844.35 |  |  | WWTP |
| USA BLUE BOOK | 422.23 |  |  | WWTP |
| USA BLUE BOOK | 630.29 |  |  | WWTP |
| USA BLUE BOOK | 354.58 |  |  | WWTP |
| UPS STORE #3084 | 24.81 |  |  | WWTP |
| BIOCHEM, INC. | 4,141.03 |  |  | WWTP |
| DELTA SERVICES, LLC | 698.63 |  |  | WWTP |
| DELTA SERVICES, LLC | 525.06 |  |  | WWTP |
| GRIPP, INC. | 5,164.67 |  |  | WWTP |
| METRO ANSWERING SERIVCE | 80.00 |  |  | WWTP |
| EYE-TRONICS | 436.52 |  |  | WWTP |
| EYE-TRONICS | 716.71 |  |  | WWTP |
| EYE-TRONICS | 90.44 |  |  | WWTP |
| EYE-TRONICS | 2,540.08 |  |  | WWTP |
| EYE-TRONICS | 210.54 |  |  | WWTP |
| OFFICE DEPOT | 36.56 |  |  | WWTP |
| OFFICE DEPOT | 58.89 |  |  | WWTP |
| HOME DEPOT | 69.00 |  |  | WWTP |
| HOME DEPOT | 71.96 |  |  | WWTP |
| HOME DEPOT | 7.85 |  |  | WWTP |
| HOME DEPOT | 54.85 |  |  | WWTP |
| JACOBI OIL SERVICE, INC. | 187.15 |  |  | WWTP |
| KIMMEL LAWN SERVICE | 3,000.00 |  |  | WWTP |
| KIMMEL LAWN SERVICE | 3,375.00 |  |  | WWTP |
| HACH COMPANY | 1,256.91 |  |  | WWTP |
| ECO-TECH, LLC-WASTE LOGISTICS | 410.23 |  |  | WWTP |
| ENVIRONMENTAL LABORATORIES INC | 30.00 |  |  | WWTP |
| ENVIRONMENTAL RESOURCE ASSOCIA | 743.62 |  |  | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | (179.30) |  |  | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 78.57 |  |  | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 62.00 |  |  | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 150.00 |  |  | WWTP |
| IDEXX DISTRIBUTION, INC | 294.34 |  |  | WWTP |
| MCMASTER-CARR | 130.35 |  |  | WWTP |
| MGH | 375.00 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 206.80 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 277.60 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 465.30 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 |  |  | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 465.30 |  |  | WWTP |
| NAPA OF NEW ALBANY | 26.18 |  |  | WWTP |
| NAPA OF NEW ALBANY | 23.38 |  |  | WWTP |
| NAPA OF NEW ALBANY | 437.68 |  |  | WWTP |
| WALLACE, MIKE | 50.00 |  |  | WWTP |
| WALLACE, MIKE | 113.00 |  |  | WWTP |
| SAERTEX MULTICOM LP | 29,916.88 |  |  | WWTP |
| SOURCE 1 ENVIRONMENTAL, LLC | 1,122.00 |  |  | WWTP |
| SETON IDENTIFICATION | 25.40 |  |  | WWTP |
| GOTTA GO INC. | 1,215.00 |  |  | WWTP |
| GOTTA GO INC. | 1,458.00 |  |  | WWTP |
| PROWEST & ASSOCIATES, INC | 707.82 |  |  | WWTP |
| NORTON HEALTHCARE | 89.00 |  |  | WWTP |
| NORTON HEALTHCARE | 89.00 |  |  | WWTP |
| COVERALL SERVICE COMPANY | 1,075.00 |  |  | WWTP |
| ALLTERRAIN PAVING & CONSTRUCT | 16,890.00 |  |  | WWTP |
| Total | 206,932.90 |  |  |  |
| INDIANA AMERICAN WATER | 38.04 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 38.04 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 20.73 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 207.19 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 38.04 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 20.73 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 26.83 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 20.73 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 12.51 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 150.12 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 875.70 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 |  |  | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 |  |  | Thursday Utilities |
| GIBSON LAW OFFICE, LLC | 865.38 |  |  | Thursday Utilities |
| VERIZON WIRELESS | 1,501.14 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 48.56 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 17.00 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 19.71 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 93.00 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 17.00 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 46.90 |  |  | Thursday Utilities |
| VECTREN ENERGY DELIVERY | 50.17 |  |  | Thursday Utilities |
| DUKE ENERGY | 1,050.07 |  |  | Thursday Utilities |
| DUKE ENERGY | 80.72 |  |  | Thursday Utilities |
| CARD SERVICES | 154.37 |  |  | Thursday Utilities |
| CARD SERVICES | 856.44 |  |  | Thursday Utilities |
| CARD SERVICES | 120.00 |  |  | Thursday Utilities |
| CARD SERVICES | 487.92 |  |  | Thursday Utilities |
| CARD SERVICES | 136.90 |  |  | Thursday Utilities |
| NEOPOST | 112.19 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 38.04 |  |  | Thursday Utilities |
| INDIANA AMERICAN WATER | 290.26 |  |  | Thursday Utilities |
| GIBSON LAW OFFICE, LLC | 865.38 |  |  | Thursday Utilities |
| CLARK-FLOYD LANDFILL LLC. | 3,734.94 |  |  | Thursday Utilities |
| STORMWATER\DRAINAGE FUND | 47,611.33 |  |  | Thursday Utilities |
| BANK OF NEW YORK TRUST CO. | 459,701.00 |  |  | Thursday Utilities |
| FLOYDS KNOBS WATER | 2,608.17 |  |  | Thursday Utilities |
| FLOYDS KNOBS WATER | 2,673.88 |  |  | Thursday Utilities |
| AT&T | 719.47 |  |  | Thursday Utilities |
| DUKE ENERGY | 28.07 |  |  | Thursday Utilities |
| DUKE ENERGY | 49.29 |  |  | Thursday Utilities |
| DUKE ENERGY | 506.69 |  |  | Thursday Utilities |
| DUKE ENERGY | 567.00 |  |  | Thursday Utilities |
| DUKE ENERGY | 156.13 |  |  | Thursday Utilities |
| DUKE ENERGY | 957.45 |  |  | Thursday Utilities |
| DUKE ENERGY | 74.84 |  |  | Thursday Utilities |
| FLEETONE MSC 30425 | 4,006.26 |  |  | Thursday Utilities |
| ASSURED PARTNERS | 4,753.07 |  |  | Thursday Utilities |
| ASSURED PARTNERS | 25,582.70 |  |  | Thursday Utilities |
| ASSURED PARTNERS | 3,774.50 |  |  | Thursday Utilities |
| SPECTRUM BUSINESS | 99.98 |  |  | Thursday Utilities |
| Total | 565,921.26 |  |  |  |
| Grand Total | 778,133.72 |  |  |  |

Mr. Grimes moved to approve the above claims, Mr. Wilkinson second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:35 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk