THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WAS HELD IN THE THIRD FLOOR ASSEMBLY ROOM OF THE CITY-COUNTY BUILDING ON THURSDAY, DECEMBER 10, 2015 AT 9:15 A.M.

PRESENT: Mayor Gahan, president, Ed Wilkinson, member and Nathan Grimes, member.

ALSO PRESENT:  Rob Sartell, Wes Christmas, April Dickey, Carmen Belcher, Larry Summers, and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Wilkinson moved to approve the November 25, 2015 Regular Meeting Minutes as corrected, Mayor Gahan second, all voted in favor.

BIDS:

1.  Rob Sartell re: Bid Award for Launder Covers

Mr. Sartell introduced Pete Wamsley with Beam, Longest and Neff to make a recommendation for this bid.

Mr. Wamsley stated that they reviewed the five bids and the apparent low bidder was Graves Plumbing Company in the amount of $274,274.00. He explained that they included a comparable manufacturer which they researched and found to not be an equal manufacturer. He stated that they reached out to Graves Plumbing who verified in writing that they can provide the actual manufacturer specified in the bid for the same base bid price. He explained that they researched Graves references and everyone had great things to say about them so they are comfortable recommending that the board accept their bid.

Mr. Wilkinson moved to approve the low bid from Graves Plumbing, Mayor Gahan second, all voted in favor.

Mr. Grimes entered the meeting at 9:20 a.m.

2.  Rob Sartell re: Dump Valve Project Change Order #1

Mr. Sartell explained that they reviewed this at the progress meeting on Tuesday and they give it a positive recommendation. He stated that it is a deduction from the actual cost by approximately $3,700.00.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

COMMUNICATIONS - PUBLIC:

Gary Brinkworth explained that they added an easement due to the relocation of the water line on a plat that was signed by the board a couple of weeks ago and he needs them to sign the new plat. He stated that Autumn Grove was approved by the Plan Commission for primary and secondary plan approval and he presented a plat for that section that has 9 lots with 8 being buildable. He explained that he spoke to Mr. Sartell who stated that there are still 10,000 gallons available and he thinks that they built 5 less than what they intended so there will still be available credits if this is approved. He stated that he needs this approval before he goes to the county and he will get them a full set of plans. 

Mr. Summers stated that he hasn’t seen the plans but it has gone before the Plan Commission.

Mr. Sartell stated that all the credits for this project have been approved but the project stalled out and was picked up by another contractor who wants to finish it out.  He explained that it is on the list that IDEM has they just haven’t been used yet.

Mr. Grimes asked that the plats be emailed to him.

Mr. Wilkinson moved to approve signing the St. Joe Crossing plat as amended, Mr. Grimes second, all voted in favor.

Mr. Wilkinson moved to approve the adjustments and the recommitments on the last lots on Autumn Grove, Mr. Grimes second, all voted in favor.

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

Mrs. Dickey stated that she doesn’t have any new adjustments this week but she is still waiting on more information on the tabled adjustment for Dick and Tammy Cook.

Mayor Gahan stated that Mr. Gibson is working on a policy to address the other tabled adjustment.

Tabled Adjustments

Cross Creek Property Mgmt.		$2,305.10

Cross Creek Property Mgmt.		$7,486.52

Cross Creek Property Mgmt.		$1,032.44

Jason Jahn				$2,981.40

Colonial Club Homeowners		$14,591.75

Dick & Tammy Cook			$969.85

FINANCIAL REPORT:

Mr. Wilkinson stated that November was a very standard month and explained that they took in $1.1M. He explained that the only new item is that the 14th and 15th of this month they will be developing their encumbrances for the EPA projects.

NEW BUSINESS:

- Rob Sartell re: Stantec SSO Amendment

Mr. Sartell stated that he has an amendment in the amount of $25,000.00 for extension of the SSO Monitoring that they do for the city during rain events.

Mr. Grimes asked how long the previous one lasted.

Mr. Sartell stated that it was from May of this year.

Mr. Wilkinson explained that they are basically looking to approve an adjustment for $25,000.00.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

OLD BUSINESS:

- Wes Christmas re: Clark Dietz Update

Mr. Christmas explained that the design of the two lift stations is ongoing. He stated that they will be meeting with Mr. Sartell and some of his staff tomorrow to work out the details for the Grantline Road Lift Station, and they hope to have surveys starting soon on the Old Vincennes Road Project.

UTILITY REPORT:

Utility Monthly Report Summary for October 2015

Influent / Effluent Quality
The Treatment Facility was in full compliance for the month of October with the exception of a final effluent Copper excursion.

Pretreatment
Annual inspections were conduct at the following Industries; General Mills, Bruce Fox, Wise Technical, Samtec and Blue Grass Chemicals. Annual sampling and inspections took place at Discount Labels and Bert R. Huncilman.
There were 52 grease trap inspections of restaurants and food preparation facilities.

Facililty Operations
83 dry tons of bio solids were removed from the WWTP.
The WWTP was at 50% of its Total Suspended Solids design limit and at 63% of its CBOD design limit.  
There were 4.40 inches of rain for the month

Preventative and Unscheduled Maintenance
187 preventative work orders were completed and 33 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Unstopped pumps at Wolf Lake on the   4th, 10th, 12th, 19th, 
Replaced bad breaker at Jacob’s Creek Lift Station and had #1 pump repaired.
Had a pump rebuilt for the Camp Ave. Lift Station. 
Cleaned wet well at LaFollette.

Rebuilt the #2 pump at the Intermediate Pump Station and had the impeller coated with an enamel finish to prevent cavitation.  
Cleaned both venturi valves on the Belt Filter Presses.

Sanitary Collection System

| Project | October 2015 | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 7,485 | 85,605 |
| Sanitary Sewer Televised/ft. | 5,991 | 57,189.5 |
| CIPP Installed/ft | 0 | 16,372 |
| Tap Inspections | 9 | 86 |
| Locates | 588 | 5,810 |
| Pipe Patches | 3 | 22 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 11 | 1 | 0 | 9 | 2 | 6 |

Sanitary Sewer Overflow Monitoring
There was 1 rain events that required Stantec monitoring no overflows.

Preventative and Unscheduled Maintenance
62 preventative work orders were completed and 1 corrective work orders completed for the Collection System.
There were 11 Customer Service requests 0 of those requests were for blockages in the main line.

Highlights

Construction Highlights

Basin #2
Pipe patched two spots on Indiana Ave.
Resealed MH# 2-43.

Basin #7
Pipe Patched main line on Culbertson Ave. 1300 block.

Basin #9
Resealed MH# 9-65A to prevent inflow in the 900 block of Greenleaf Dr.

Basin #10
Replaced manhole casting on MH# 10-14B. It had been struck with a mower.

Basin #14
Repaired lateral in the right of way at 908 Pennwood Dr.

Basin #40
Raised manhole #s 40-138 and 40-224 to grade to eliminate inflow source.

Facility Safety
The monthly safety inspection rating was 95.3%
The safety training topic was Hazard Communication

Projects

110/120 Valve replacement and Dump Station
The fifth progress meeting has taken place and the fifth pay application will be submitted. The natural gas line that feeds the 040 Collection System Garage had to be disconnected and will be reinstated at a later date. The pipe work in #120 has been installed except for rails, pump and VFD. Foundation work for the dump pit is at 100% complete. Water main extension to the Dump Pit has been completed. The VFD for the #120 Pump #5 has been installed. Construction of the block walls for the Dump Building has begun.

Algae Control System
Bid Award is scheduled for 12-10-15.

McLean Lift Station
Met with HMB and residents at the McLean Lift Station to discuss easement issues. All issues are resolved. Reviewed final plans and they have been sent to IDEM for construction approval.

Reline New Albany
The Lining Crew has completed lining in Basin #23. Manholes will be lined in #23. Basin #11 is complete. Received quotes for manhole lining in Basin #11.  Since these are all brick manholes decided to go with a lining system that would not only seal the manholes from infiltration but would also add strctural reinforcement. Started putting in inflow inserts in Basin #11.   Finishing up the last few line segments in Basin #15 and have started on a few lines in Basin #28. Basin #7 will be next and then back to Basin #10.

WWTP Maintenance Garage
Requested change order has been approved. Site locates were completed the week of the 30th.

SSO Flow Study
Flow meters have been ordered and installed. Data is being collected by Clark-Dietz for analysis.

Grantline Road Lift Station Project
A preliminary design meeting is scheduled for 12-11-15 @ 10:00 A.M.

CLAIMS:

Ms. Belcher presented the following claims for the period of 11/29/15 to 12/09/15:

| Vendor Name | Amount | Department |
| --- | --- | --- |
| POSTMASTER | 4,000.00 | SEW |
| OFFICE SUPPLY COMPANY, INC | 628.12 | SEW |
| OFFICE SUPPLY COMPANY, INC | 3.98 | SEW |
| OFFICE SUPPLY COMPANY, INC | 57.82 | SEW |
| FLOYD COUNTY RECORDER | 110.00 | SEW |
| L&D MAILMASTERS, INC. | 2,496.50 | SEW |
| L&D MAILMASTERS, INC. | 1,499.98 | SEW |
| L&D MAILMASTERS, INC. | 253.16 | SEW |
| CROWN SERVICES INC | 450.00 | SEW |
| CROWN SERVICES INC | 360.00 | SEW |
| STURGEON, EMILY | 1,078.53 | SEW |
| Total | 10,938.09 |  |
| ACE HARDWARE | 8.85 | WWTP |
| ACE HARDWARE | 15.26 | WWTP |
| ACE HARDWARE | 10.78 | WWTP |
| ACE HARDWARE | 53.01 | WWTP |
| ACE HARDWARE | 4.48 | WWTP |
| ACE HARDWARE | 6.28 | WWTP |
| ACE HARDWARE | 16.15 | WWTP |
| ACE HARDWARE | 25.16 | WWTP |
| ACE HARDWARE | 25.16 | WWTP |
| ACE HARDWARE | 9.29 | WWTP |
| ACE HARDWARE | 13.73 | WWTP |
| ACE HARDWARE | 37.75 | WWTP |
| ACE HARDWARE | 22.08 | WWTP |
| BLACK DIAMOND | 65.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| RETAILERS SUPPLY | 186.47 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 143.85 | WWTP |
| QUILL | 112.67 | WWTP |
| CINTAS #302 | 52.03 | WWTP |
| CINTAS #302 | 288.51 | WWTP |
| CINTAS #302 | 52.03 | WWTP |
| CINTAS #302 | 288.51 | WWTP |
| HMB PROFESSIONAL ENGINEERS | 7,290.00 | WWTP |
| PEYTON'S BARRICADE & SIGN CO. | 120.00 | WWTP |
| GORDON FOOD SERVICE,INC. | 48.99 | WWTP |
| MIKE SMITH FIRESTONE | 599.80 | WWTP |
| MIKE SMITH FIRESTONE | 80.00 | WWTP |
| UHL TRUCK SALES | 639.95 | WWTP |
| S & R TRUCK TIRE CENTER, INC | 1,030.64 | WWTP |
| OWENS COMMUNICATIONS, INC. | 150.00 | WWTP |
| OWENS COMMUNICATIONS, INC. | 222.52 | WWTP |
| NEACE LUKENS | 995.00 | WWTP |
| DLT SOLUTIONS, INC | 1,588.58 | WWTP |
| DRS. AUTOMOTIVE | 786.58 | WWTP |
| USA BLUE BOOK | 435.97 | WWTP |
| USA BLUE BOOK | 702.96 | WWTP |
| USA BLUE BOOK | 26.95 | WWTP |
| USA BLUE BOOK | 122.25 | WWTP |
| USA BLUE BOOK | 251.96 | WWTP |
| BIOCHEM, INC. | 3,863.23 | WWTP |
| DELTA SERVICES, LLC | 23,446.41 | WWTP |
| SPENCER MACHINE & TOOL CO.,INC | 200.00 | WWTP |
| STANTEC CONSULTING SERVICES | 4,261.00 | WWTP |
| GRIPP, INC. | 4,559.67 | WWTP |
| GRIPP, INC. | 4,379.67 | WWTP |
| SOUTH'S CLEANING SERVICE | 1,000.00 | WWTP |
| ERNST CONCRETE | 262.75 | WWTP |
| JACOBI OIL SERVICE, INC. | 955.27 | WWTP |
| RELINE AMERICA, INC | 47,160.00 | WWTP |
| HACH COMPANY | 178.55 | WWTP |
| ENVIRONMENTAL LABORATORIES INC | 30.00 | WWTP |
| ENVIRONMENTAL LABORATORIES INC | 30.00 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 685.00 | WWTP |
| MEINERS MEDICAL,FIRE & SAFETY | 150.00 | WWTP |
| SARTELL, ROBERT | 16.99 | WWTP |
| SARTELL, ROBERT | 7.37 | WWTP |
| IUPPS | 560.50 | WWTP |
| BIG G SUPPLY | 125.11 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 117.80 | WWTP |
| NAPA OF NEW ALBANY | 12.48 | WWTP |
| NAPA OF NEW ALBANY | 71.49 | WWTP |
| NAPA OF NEW ALBANY | 357.23 | WWTP |
| WALLACE, MIKE | 83.99 | WWTP |
| UNITED CONSULTING | 12,500.00 | WWTP |
| NORTON OCCUPATIONAL MEDICINE | 25.00 | WWTP |
| MUNICIPAL & CONTRACTOR SEALING | 2,212.00 | WWTP |
| MAYFIELD EXCAVATING INC | 700.00 | WWTP |
| SUNSHINE FILTERS OF PINELLAS | 705.66 | WWTP |
| Total | 125,231.37 |  |
| GIBSON LAW OFFICE, LLC | 865.38 | Thursday Utilities |
| AT&T | 145.05 | Thursday Utilities |
| AT&T | 1,384.87 | Thursday Utilities |
| INDIANA AMERICAN WATER | 19.61 | Thursday Utilities |
| INDIANA AMERICAN WATER | 19.61 | Thursday Utilities |
| INDIANA AMERICAN WATER | 36.19 | Thursday Utilities |
| INDIANA AMERICAN WATER | 19.61 | Thursday Utilities |
| INDIANA AMERICAN WATER | 19.61 | Thursday Utilities |
| INDIANA AMERICAN WATER | 36.19 | Thursday Utilities |
| INDIANA AMERICAN WATER | 36.19 | Thursday Utilities |
| INDIANA AMERICAN WATER | 41.39 | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | Thursday Utilities |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | Thursday Utilities |
| GIBSON LAW OFFICE, LLC | 865.38 | Thursday Utilities |
| STORMWATER\DRAINAGE FUND | 46,315.67 | Thursday Utilities |
| BANK OF NEW YORK TRUST CO. | 419,991.00 | Thursday Utilities |
| BANK OF NEW YORK TRUST CO. | 21,953.50 | Thursday Utilities |
| AT&T | 156.42 | Thursday Utilities |
| AT&T | 146.17 | Thursday Utilities |
| DUKE ENERGY | 2,755.72 | Thursday Utilities |
| DUKE ENERGY | 19.22 | Thursday Utilities |
| DUKE ENERGY | 1,149.51 | Thursday Utilities |
| DUKE ENERGY | 135.15 | Thursday Utilities |
| DUKE ENERGY | 679.76 | Thursday Utilities |
| CARD SERVICES | 610.94 | Thursday Utilities |
| CONSTELLATION NEWENERGY | 576.66 | Thursday Utilities |
| Total | 497,995.48 |  |
| Grand Total | 634,164.94 |  |

Mr. Wilkinson moved to approve the above claims, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:35 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk