THE SEWER BOARD OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD IN THE THIRD FLOOR ASSEMBLY ROOM OF THE CITY-COUNTY BUILDING ON THURSDAY, JULY 28, 2011 AT 9:00 A.M.

PRESENT: Roger Harbison, Gary Brinkworth, Ed Wilkinson,

ALSO PRESENT: Kay Garry, Greg Fifer, Shane Gibson, Matt Lorch, Sam Lahanis, Rob Sartell, Wes Christmas, Kelly Welsh, and Mindy Milburn

CALL TO ORDER:

Mr. Harbison called the meeting to order at 9:04 a.m.

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

BIDS:

Mr. Sartell stated that he received RMPS from three engineering firms to address ____and he would like to review those with a board member and Mr. Lahanis to decide which way they should go. He explained that they learned from FEMA that if they __________

Mr. Lahanis stated that they had an excellent meeting with FEMA and they have to turn in_____ and once that occurs they will

The board set a committee to deal with this made up of Mr. Brinkworth, Mr. Sartell and Mr. Lahanis.

Mr. Crawford explained that they requested quotes on the elevator and they received two

Murphy 		$77, 400.00

Thyssen Krupp	$81, 073.00

Otis did not submit

He explained that he thinks they need to wait and investigate their options with the insurance company. He stated that FEMA was very pleased to hear that their plans included

COMMUNICATIONS - PUBLIC:

Mr. Evans addressed the board and explained that he got a utility bill that was about 4 times the normal amount. He stated that he has a pool and was told when he moved in that he had to write a letter every year so they did for three years but then they were told to stop writing letters because everyone was on summer watering. He stated that they did have a leak in his pool but the water went into his yard and not his sewer. He stated that the notification on the bill to let them know that they have to sign up but it is so small on the bill that he doesn’t examine the entire bill because his bill is about the same every year.

Ms. Welsh stated that he is not alone and they have had a lot of issues with people not seeing this on their bill and not knowing the policy was changing.

Mr. Brinkworth stated that he thinks they can go ahead and give all these people a credit, get them signed up for the program and they will be straight for next year.

Mr. Fifer stated that he would suggest that they put a time frame on when these adjustments will be made and the policy will be in effect and they will no longer make confessions.

Mr. Harbison stated that if they give them 90 days that should give them plenty of time.

Mr. Lahanis stated that he agrees and everyone should get a couple of bills in that time.

Mr. Evans stated that he would suggest that they send out a form letter with the next billing to let people know.

There was a lengthy discussion regarding the change in policy and why they decided to make these changes.

Mr. Brinkworth made a motion to allow Mr. Welsh to retroactively adjust summer water program customers billing until the end of September contingent upon them signing up for the program,  Mr. Harbison second, all voted in favor.

COMMUNICATIONS - CITY OFFICIALS:

Mr. Gibson stated that he would like to set up and executive session with them after the meeting.

Mrs. Garry presented two claims that they asked her to hold.

DNR Golf Carts

EMC – reimbursement of excess water.

Mr. Lahanis stated that Mr. Fifer wanted to review the EMC contract before they paid that bill and they think that they may be able to turn it into the insurance for reimbursement.

Mr. Fifer stated that it sounds like the likely result is that they will get reimbursed so they should approve them.

Mr. Brinkworth moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Garry stated that she has the joint resolution with changes that she made but Ms. Welsh suggested some other amendments to one of the pages.

Mrs. Welsh explained that she increased the budget by $10,000.00 to bump the salaries in her office because she has a couple of girls that are looking for other jobs and she would like to go to bat for the girls in her office because they are hard to train.

Mrs. Garry stated that everyone on the floor deserves a raise and she has two employees that are paid from sewers and if they do choose to increase their salaries it will cause a lot of problems not only for her girls that are paid from the sewer funds but with everyone on the floor.

The board decided to take Ms. Welsh’s changes under advisement and discuss them at the Executive Session.

Mr. Brinkworth moved to approve the joint resolution with Mrs. Garry’s corrections, Mr. Wilkinson second, all voted in favor.

SEWER ADJUSTMENTS:

Robert Meier 1600 Charlestown Road requesting an adjustment in the amount of $748.14 due to a water leak that went into the yard.

Rebecca Osborne 228 Conner Street requesting an adjustment in the amount of $604.06 due to a back up sump pump being stuck on and the water ran through the pump into the yard.

Mildred McNeary 1405 Vance Court requesting an adjustment in the amount of $923.80 due to a water leak in the crawl space and broken water line. Water went into crawl space and had to be pumped out.

Mr. Brinkworth moved to approve all three adjustments contingent upon Ms. Welsh getting confirmation on the Robert Meier adjustment, Mr. Wilkinson second, all voted in favor.

Ms. Welsh explained that the Wendy’s on Charlestown Road is moving to behind Sam’s Tavern which will put them in the fringe and she wanted to know if they made an concessions for credits on an existing business that moves.

Mr. Brinkworth stated that the sewer tap stays with the existing building so they do not give any credits.

FINANCIAL REPORT:

Mr. Harbison asked if there were any questions or comments on the financial information that was given to them before the meeting or the proposed budgets provided by Mr. Wilkinson.

Mr. Lahanis stated that they did have some discussion regarding another budget hearing to go over this information and asked if they would like to do that on the same day that they do the executive session.

NEW BUSINESS:

Mr. Fifer asked what was going on with MAC.

Mr. Christmas stated that immediately after they got notification they began working.

Mr. Brinkworth stated that Mr. Christmas is going to realign the ______. He stated that they will need to get that appraised.

OLD BUSINESS:

Item #2 - Clark Dietz Update

Mr. Christmas stated that everything seems to be going good with the projects and _______. He stated that the signage will remain up on McDonald Ave that it is closed but once they get the ____ up the will probably allow traffic to move through. Basin 4 dayshift finished laying pipe this week. He explained that they had a complaint at 113 Eagle Lane that _____- he stated that he and Mr. Lahanis went out but the problems that they observed have been there for a while but they are going to send a contractor out to look at it. He stated that a contractor tried to improve a ditch as they went along with the project and in the process of doing that they exposed a water meter_______ so they are going to try to relocate the meter so they may see something come through regarding that. He explained that _____

There was a lengthy discussion regarding the work being done by the Eagle Lane property.

EMC REPORT:

Mr. Sartell presented the following report to the board:

- Repaired check valve for the #1 Belt Filter Press Wash Water.

- Found water in terminal box at Mt. Tabor Lift Station that was causing the flow meters to malfunction. Replaced terminal block and sealed conduit.

- Replaced failed level transducer for the 120 wet well at 10th St. Raw Lift Station. When the level transducer failed it caused the 120 lift station to pump below its low level shut off point. This in turn allowed the 120 pump station to pump a vast majority of the grease in the wet well up to the 210 preliminary treatment building. Inside the 210 is a fine screening system which captured the pumped grease slurry and deposited it into a dumpster for disposal. This procedure pretty much goes against the standard operating procedure for grease disposal for a lift station, but since this did not clog the 120 pumps and there is a screening process in the 210 building that won’t allow to much grease to enter the WWTP, we have decided to recreate this process on a trial quarterly basis. If this proves to be successful it will save money for removal and disposal costs.

- A service rep from HPT/Trojan was in on UV issues. Found arm was bad on module 1 bank A. Getting quotes for new module arm from Trojan. Also getting quotes on bad hydraulic diaphragm and switch.

CLAIMS

Mr. Sartell presented the following claims for approval:

| N A Municipal Utilities | 402383000 |  | 7/13/2011 |  | $875.70 |  | 38 W 10th St - WWTP |
| --- | --- | --- | --- | --- | --- | --- | --- |
| N A Municipal Utilities | 40063700 |  | 7/13/2011 |  | $12.51 |  | Old Ford Rd LS |
| N A Municipal Utilities | 40050100 |  | 7/13/2011 |  | $150.12 |  | Scott Rd - Basin 14 LS |
| July 28, 2011 Sewer Board Meeting |  |  |  | $1,038.33 |  |  |  |
|  |  |  |  |  |  |  | $187,880.84 |  | Total for July |

Mr. Brinkworth moved to approve, Mr. Harbison second, all voted in favor

Mr. Lahanis presented the following claims for approval:

| Vendor |  | Invoice |  | Date | Cost |  | Description |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Ace Hardware |  | 202468, 202918, 203101, 203461, 203690 & 203691 |  | 6/27, 7/6, 7/8, 7/14, & 7/19 | $ 171.35 |  | Supplies |
| Brown Equipment |  | 1258 & 1230 |  |  | $ 40,476.00 |  | SRF Disbursement |
| Carriage Ford |  | C6500 |  | 7/18/2011 | $ 883.64 |  | SVC F350 |
| Dell Marketing |  | XFC69JT56 & XFC6FCD5 |  | 6/1/2011 | $ 254.43 |  | office supplies |
| Earth First |  | 3093556, 3093710, 3093716, 3093718 & 3094067 |  |  | $ 240.89 |  | Limestone |
| Fleet Services |  | 26560036 |  | 7/6/2011 | $ 26.50 |  | Card Embossing |
| Gripp, Inc |  | 309939 |  | 7/19/2011 | $ 1,244.50 |  | Svcs & Batteries |
| Inter-City Automotive |  | 349555 & 349831 |  | 7/14 & 7/19 | $ 81.58 |  | repair/parts |
| Irving Materials Inc |  | 6061979 |  | 7/20/2011 | $ 428.00 |  | Svcs Corner of McD/Charlestown |
| J.R. Hoe & Sons Inc |  | INV00000000128648 |  | 7/13/2011 | $ 394.00 |  | Sealant & Watertight cover |
| New Albany Tribune |  | 6527753 |  | 7/18/2011 | $ 63.37 |  | Legal Ad |
| Office Depot |  | 1359123957 & 570671416001 |  | 7/1 & 7/18 | $ 1,090.29 |  | Supplies |
| OfficeSupply |  | 171122 & 171174 |  | 7/18 & 7/19 | $ 117.31 |  | Supplies |
| PNC Equipment |  | 138311000 |  | 7/5/2011 | $ 751.53 |  | Lease |
| Rodefer Moss & Co, PLLC | 2000044893 |  | 6/30/2011 | $ 1,350.00 |  | April 2011 Financial Report |
| S & R Truck Tire |  | 21-37099 & 21-37151 | 7/13/2011 | $ 2,174.20 |  | Svc F350 |
| Saf-Ti-Co |  | 284319 |  | 6/16/200 | $ 157.00 |  | LED Strobe w/MB Suction |
| Sellersburg Stone Co |  | 4792 |  | 7/7/2011 | $ 248.80 |  |  |
| Souths Cleaning Service |  |  | 7/20/2011 | $ 400.00 |  | Cleaning |
| Stantec |  | 508553 |  | 7/14/2011 | $ 19,910.15 |  | SSO Monitoring |
| Sterling Commercial Credit | 3086 |  | 7/18/2011 | $ 2,471.33 |  |  |
| Sunbelt Rentals |  | 30720186-001 |  | 7/20/2011 | $ 57.94 |  | Asphalt abrasives |
| The Rental Mart |  | 334570 |  | 7/20/2011 | $ 65.00 |  | Eqip rental |
| TSI Paving |  | 122988 |  | 6/20/2011 | $ 32,600.00 |  | Excavation/Manhole repair |
| Uhl Truck Sales |  | 968 |  | 7/20/2011 | $ 28,000.00 |  |  |
| Uhl Truck Sales |  | HI16054 &&HI16053 |  | 7/11/2011 | $ 542.12 |  | Repairs |
| VWR International LLC |  | 46334399 |  | 7/19/2011 | $ 378.06 |  | Gloves |
|  |  |  |  | Total: | 134,577.99 |  |  |

There was a lengthy discussion regarding the TSI bill and the extra $8,000.00 charge.

Mr. Wilkinson asked about the Stantec bill and why it was so high.

Mr. Lahanis stated that there were four heavy rain events on the billing cycle.

Mr. Brinkworth moved to approve, Mr. Wilkinson second, all voted in favor

ADJOURN:

There being no further business before the board, the meeting adjourned at 10:10 p.m.

_____________________________			_____________ ________________

Roger Harbison, President 				Mindy Milburn, Deputy City Clerk