THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD VIA ZOOM.COM ON THURSDAY, AUGUST 27, 2020 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, President.

ALSO PRESENT:  April Dickey, Linda Moeller, Rob Sartell, Larry Summers, Wes Christmas and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the August 13, 2020 Regular Meeting Minutes, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

1. Plat Approval for Villages of Valley View

Mr. Sartell explained that this is an FYI for the board to let them know that the plat for this project was approved by the Floyd County Plan Commission and will be presented to this board for signing at a later date.

Mr. Grimes asked Mr. Sartell if he is going to send out a copy of the plat for the board to review because he hasn’t seen it.

Mr. Sartell stated that he has a copy and he can send it to them.

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

Mrs. Dickey presented an adjustment request for Joy Weddle Creps in the amount of $1,397.76 for a leak in the meter and a leak at the back of the house. She explained that the water went into the yard, the leak was repaired by Paul G Kulp (maintenance man) and consumption is back to normal. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented an adjustment request for Roger Chastain in the amount of $2,580.48 for a leak in the water heater located above the utility room. She explained that the water went down into the crawl space and out into the yard, the leak was repaired by the homeowner and consumption is back to normal. Supporting documents are attached.

Mr. Wilkinson moved to approve with a notation that it is on the edge of the approved dating six month interval, Mr. Grimes second, all voted in favor.

Mrs. Dickey presented an adjustment request for Emily Trinkle in the amount of $2,077.44 for a leak in the main line between the house and the meter. She explained that the water went into the yard, the leak was repaired by Greenwell Plumbing and consumption is back to normal. Supporting documents are attached.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

FINANCIAL REPORT:

Mr. Wilkinson reported that the July billing went out on the 24th was $1.2M and is within $10,000.00 of what the monthly average is and everything else stayed the same.

TABLED ITEMS:

OLD BUSINESS:

1. Clark Dietz

Mr. Christmas, Silver Hills – he reported that there hasn’t been much activity last week and this week but they anticipate being back on Monday with ~ 400 feet of gravity sewer remaining to be put down. He stated that over the next 2-4 weeks this project should be entirely complete. Smoke Testing Basin 16 – he reported that the notifications/door hangers are being distributed today and tomorrow and the actual work should take place next Tuesday or Wednesday (weather permitting).

Mr. Wilkinson asked about the manholes on Silver Hills and if there is any difference from one to the next.

Mr. Christmas explained that manholes are generally made of standard sections but depending on the height of the structure there might be one that is a different height along with the standard ones to get the correct elevation. He added that sometimes they use adjusting rings at the top to ensure the rim elevation meets what is needed. He stated that they have had to correct a couple in the past and if they aren’t installed correctly they will make sure that they are. He reported that after the last meeting Mr. Sartell observed that the grass around the lift station in the area has significantly grown out so it is his understanding that they did go cut the grass and trim it up.

UTILITY REPORT:

1.  Rob Sartell re: Utility Monthly Report Summary for April 2020

Influent / Effluent Quality
The treatment plant was in full compliance with the NPDES permit.

Pretreatment
There were 8 grease trap inspections submitted.
An Informal Notice was sent to Versa Designed Surfaces for CBOD Daily Maximum violation.
An Informal Notice was sent to Bruce Fox for a sampling violation of Copper.

Facililty Operations
85 dry tons of bio solids were removed from the WWTP.
The WWTP was at 84% of its Total Suspended Solids design limit and at 42% of its CBOD design limit.  
There were 4.93 inches of rain for the month

Preventative and Unscheduled Maintenance
150 preventative work orders were completed and 28 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Maintenance reattached the discharge flange for the #2 pump at The Pines Lift Station. 
Spencer Machine rebuilt the #1 pump at Old Ford Road Lift Station
Maintenance replaced the #2 pump at Crystal Creek Lift Station with a spare pump. Sent pulled pump out for repair. 
Spencer Machine rebuilt the #2 Sludge Pump to the Belt Filter Presses. 
Replaced the control level transducer on the #110 Raw Wastewater Lift Station.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 3,469 | 44,741 |
| Sanitary Sewer Televised/ft. | 0 | 36,634 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 7 | 37 |
| Locates | 804 | 2,640 |
| Pipe Patches | 0 | 0 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 13 | 0 | 3 | 8 | 0 | 2 |

Sanitary Sewer Overflow Monitoring
There were 1 rain event that required Stantec monitoring.

Preventative and Unscheduled Maintenance
21 preventative work orders were completed and 4 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

0				0				0

#Main Line Repairs		#Lateral Repairs		Easement Maintenance

1				1				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Wick’s Pizza and the Hitching Post.  FOG management.

Preventative
Basin #11 – Griffin St.					Basin #29 – Hazelwood Dr.
Basin #2 – 2511 Glenwood Ct.  				Basin #34 – Blackiston Mill Rd.
Basin #7 – Division St.					Basin #19 – Maevi Dr.
Basin #14 – Brookview

Monthly Routine Cleaning and CCTV
Basin #2 – 286ft		Basin #11 – 350ft	Basin #29 – 790ft

Facility Safety
The monthly safety inspection rating was 99.22%

Projects

Reline New Albany
No lining in March

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Silver Hills Slope Project/Dent Ave. Lift Station
No activty

CLAIMS:

Mrs. Moeller presented the following claims for the period of 08/06/20 to 08/26/20 in the amount of $1,861,300.48.

| Sewer Claims | Amount | Dept |
| --- | --- | --- |
| CROWN SERVICES INC | 1,208.00 | SEW |
| CROWN SERVICES INC | 1,088.00 | SEW |
| CK REAL ESTATE LLC | 2,979.16 | SEW |
| CK REAL ESTATE LLC | 541.66 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| MCARDLE, DREW | 41.70 | SEW |  |
| LOGSDON, ELLEN | 57.65 | SEW |  |
| CREECH, MICHAEL | 35.16 | SEW |  |
| STRIEGEL, MONICA | 35.16 | SEW |  |
| STRIEGEL, MONICA | 25.37 | SEW |  |
| STEWART, RUTHIE | 60.97 | SEW |  |
| CRENSHAW, JASPER | 1,194.92 | SEW |  |
| PARKER, LYDIA | 28.83 | SEW |  |
| Total | 7,856.58 |  |  |
| ACE HARDWARE | 25.96 | WWTP |  |
| ACE HARDWARE | 19.96 | WWTP |  |
| ACE HARDWARE | 41.62 | WWTP |  |
| ACE HARDWARE | 21.47 | WWTP |  |
| ACE HARDWARE | 164.95 | WWTP |  |
| DAN CRISTIANI EXCAVATING CO. | 5,357.35 | WWTP |  |
| RINKY DINKS | 32.55 | WWTP |  |
| MURPHY ELEVATOR COMPANY, INC. | 163.55 | WWTP |  |
| CLARK-FLOYD LANDFILL LLC. | 15,658.11 | WWTP |  |
| BIG O TIRES | 836.04 | WWTP |  |
| BIG O TIRES | 1,301.64 | WWTP |  |
| QUILL | 725.29 | WWTP |  |
| QUILL | 20.49 | WWTP |  |
| QUILL | 26.99 | WWTP |  |
| QUILL | 40.98 | WWTP |  |
| CINTAS #302 | 84.76 | WWTP |  |
| CINTAS #302 | 84.76 | WWTP |  |
| CINTAS #302 | 84.76 | WWTP |  |
| STAPLES | 229.90 | WWTP |  |
| HANNUM,WAGLE & CLINE | 1,600.00 | WWTP |  |
| CULLIGAN WATER SYSTEMS | 80.00 | WWTP |  |
| ORR SAFETY EQUIPMENT CO. | 380.00 | WWTP |  |
| WHAYNE SUPPLY CO | 4,980.00 | WWTP |  |
| USA BLUE BOOK | 236.09 | WWTP |  |
| USA BLUE BOOK | 196.83 | WWTP |  |
| USA BLUE BOOK | 455.98 | WWTP |  |
| USA BLUE BOOK | 579.78 | WWTP |  |
| UPS STORE #3084 | 103.31 | WWTP |  |
| UPS STORE #3084 | 4.40 | WWTP |  |
| BIOCHEM, INC. | 4,367.03 | WWTP |  |
| BIOCHEM, INC. | 10,350.00 | WWTP |  |
| DELTA SERVICES, LLC | 192.00 | WWTP |  |
| CROWE LLP | 1,200.00 | WWTP |  |
| STANTEC CONSULTING SERVICES | 2,199.00 | WWTP |  |
| GRIPP, INC. | 4,585.00 | WWTP |  |
| EYE-TRONICS | 540.13 | WWTP |  |
| AIRGAS-MID AMERICA | 153.82 | WWTP |  |
| WASH-O-RAMA CAR WASH | 12.00 | WWTP |  |
| CRUM'S HEATING & COOLING | 3,426.20 | WWTP |  |
| RIVER CITY WORK WEAR | 360.00 | WWTP |  |
| XYLEM WATER SOLUTIONS USA | 15,620.61 | WWTP |  |
| IUPPS | 695.40 | WWTP |  |
| APPLEGATE FIFER PULLIAM-WIRE | 132.00 | WWTP |  |
| APPLEGATE FIFER PULLIAM-WIRE | 165.00 | WWTP |  |
| APPLEGATE FIFER PULLIAM-WIRE | 426.00 | WWTP |  |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |  |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |  |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |  |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |  |
| NAPA OF NEW ALBANY | 23.44 | WWTP |  |
| NAPA OF NEW ALBANY | 4.29 | WWTP |  |
| TEAM EJP JEFFERSONVILLE | 779.00 | WWTP |  |
| TEAM EJP JEFFERSONVILLE | 381.29 | WWTP |  |
| TEAM EJP JEFFERSONVILLE | 34.06 | WWTP |  |
| NORTON HEALTHCARE | 193.00 | WWTP |  |
| COVERALL SERVICE COMPANY | 1,075.00 | WWTP |  |
| ALLTERRAIN PAVING & CONSTRUCT | 900.00 | WWTP |  |
| SCHWALM USA LLC | 140.00 | WWTP |  |
| SCHWALM USA LLC | 101.50 | WWTP |  |
| VALVOLINE, LLC | 34.00 | WWTP |  |
| VALVOLINE, LLC | 40.78 | WWTP |  |
| VALVOLINE, LLC | 40.78 | WWTP |  |
| WESTERN FIRST AID & SAFTEY | 76.45 | WWTP |  |
| 14 MILE COMPANY LLC | 1,680.00 | WWTP |  |
| Total | 83,541.70 |  |  |
| QUILL | 459.88 | TU |  |
| QUILL | 7.07 | TU |  |
| QUILL | 188.97 | TU |  |
| QUILL | 6.50 | TU |  |
| QUILL | 10.18 | TU |  |
| QUILL | 312.69 | TU |  |
| STORMWATER\DRAINAGE FUND | 360,221.59 | TU |  |
| SANITATION FUND | 263,401.31 | TU |  |
| BANK OF NEW YORK TRUST CO. | 460,996.00 | TU |  |
| FLOYDS KNOBS WATER | 27.39 | TU |  |
| FLOYDS KNOBS WATER | 25.60 | TU |  |
| FLOYDS KNOBS WATER | 489.78 | TU |  |
| AT&T | 67.24 | TU |  |
| AT&T | 298.90 | TU |  |
| DUKE ENERGY | 535.99 | TU |  |
| DUKE ENERGY | 58.38 | TU |  |
| DUKE ENERGY | 384.28 | TU |  |
| DUKE ENERGY | 126.89 | TU |  |
| DUKE ENERGY | 908.54 | TU |  |
| DUKE ENERGY | 59.43 | TU |  |
| CROWN SERVICES INC | 1,240.00 | TU |  |
| WEX BANK | 3,686.33 | TU |  |
| AT&T | 63.80 | TU |  |
| AT&T | 89.53 | TU |  |
| GIBSON LAW OFFICE, LLC | 705.38 | TU |  |
| CARDOSO, MARY | 2,800.00 | TU |  |
| INDIANA AMERICAN WATER | 1,663.36 | TU |  |
| GIBSON LAW OFFICE, LLC | 697.95 | TU |  |
| SILVER CREEK WATER | 1,330.40 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 7.92 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| SILVER CREEK WATER | 9.47 | TU |  |
| CLARK CO. REMC | 132.19 | TU |  |
| CLARK CO. REMC | 170.01 | TU |  |
| CLARK CO. REMC | 346.81 | TU |  |
| CLARK CO. REMC | 146.02 | TU |  |
| CLARK CO. REMC | 138.57 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| FLOYD COUNTY RECORDER | 1,250.00 | TU |  |
| CITY OF NEW ALBANY | 450,000.00 | TU |  |
| CITY OF NEW ALBANY | 153,000.00 | TU |  |
| CITY OF NEW ALBANY | 41,800.00 | TU |  |
| VERIZON WIRELESS | 2,280.21 | TU |  |
| HARRISON CO. REMC | 419.73 | TU |  |
| HARRISON CO. REMC | 104.06 | TU |  |
| HARRISON CO. REMC | 41.67 | TU |  |
| AMERICAN WATER | 1,650.00 | TU |  |
| EDWARDSVILLE WATER CO. | 17.00 | TU |  |
| DUKE ENERGY | 200.05 | TU |  |
| CONSTELLATION NEWENERGY | 330.03 | TU |  |
| SPECTRUM BUSINESS | 724.90 | TU |  |
| SPECTRUM BUSINESS | 128.29 | TU |  |
| SPECTRUM BUSINESS | 155.91 | TU |  |
| RIVERLINK | 12.82 | TU |  |
| SPECTRUM BUSINESS | 1,542.66 | TU |  |
| GIBSON LAW OFFICE, LLC | 623.70 | TU |  |
| Total | 1,769,902.20 |  |  |
| Grand Total | 1,861,300.48 |  |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:30 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk