THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD VIA ZOOM.COM ON THURSDAY, SEPTEMBER 24, 2020 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, President.

ALSO PRESENT:  April Dickey, Linda Moeller, Rob Sartell, Larry Summers, Wes Christmas and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the September 10, 2020 Regular Meeting Minutes, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

1. Linda Moeller re: 2021 Budget

Mrs. Moeller suggested that the board schedule a budget workshop following the storm water meeting on October 8 and explained that if everything goes well at that meeting the board could review and approve the budget at the second meeting in October. She added that this will put them in good shape to meet the November deadline for approval of the budget. She asked for the board’s permission to get with Mrs. Glotzbach and Mrs. Dickey to set this up.

Mr. Grimes stated that he will be out of town that day but he can call in for the meeting.

Mrs. Moeller stated that they would receive a digital sample of the proposed budget for their review prior to the budget hearing.

Mayor Gahan stated that if everyone is ready to move forward with budget talks he is okay with her setting the workshop up.

SEWER ADJUSTMENTS:

FINANCIAL REPORT:

Mr. Wilkinson reported that the billing that went out on the 23rd was $1,195,000.00 and that is only $8,000.00 different than last month so it is right on budget.

TABLED ITEMS:

OLD BUSINESS:

1. Clark Dietz

Mr. Christmas, Silver Hills – he stated that they completed sewer manhole installation and now they are waiting for the 30 day period to finish testing. He added that once the test period is completed they will start up the new lift station and have all the flow diverted down to the new sewer which should happen sometime in the middle of October. He reported that while they are waiting for the testing period they are working on bank stabilization and minor cleanup/restoration. Autumn Hills – he reported that the contractor indicated that this work is scheduled to start in mid-October and it is another bank stabilization project. Smoke Testing – he reported that the field work was completed last month and the report is due to be submitted to the board by the end of next week.

Mayor Gahan asked if knows where they are with the observation period with the EPA.

Mr. Christmas stated that it expires in December and right now everything is looking good.

Mr. Wilkinson stated that it expires December 12.

Mayor Gahan asked if the last occurrence was June 2019.

Mr. Sartell stated that is correct.

Mr. Wilkinson stated that he would like to see a letter sent to the EPA in the next 30 days recapping where the city is so that when they get to December 12 they are ready for a court date for the release of all the restrictions.

UTILITY REPORT:

1.  Rob Sartell re: Utility Monthly Report Summary for June 2020

Influent / Effluent Quality
The treatment plant was in full compliance with the NPDES permit.

Pretreatment
There were 13 grease trap inspections submitted.
A Notice of Violation was sent to Versa Designed Surfaces for CBOD Daily Maximum violation.
City requested a Slug Discharge Control Plan from Huncilman

Facililty Operations
98 dry tons of bio solids were removed from the WWTP.
The WWTP was at 38% of its Total Suspended Solids design limit and at 51% of its CBOD design limit.  
There were 4.11 inches of rain for the month

Preventative and Unscheduled Maintenance
237 preventative work orders were completed and 19 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Maintenance cleaned out rags around lower bearings and tightened drive chain on the #1 Raw Bar Screen.
Delta replaced thermal overloads in the #1 pump at LaFollette Lift Station. Ended up pulling pump for repairs after further thermal issues.
Maintenance reloaded the programming to the #610 PLC after a power outage. 
Maintenance Cleaned transducer and Multitrode Control stick at Mt. Tabor Lift Station.
Maintenance cleaned control floats at Up Hill Run and Crystal Creek Lift Stations.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 45,262 | 54,553 |
| Sanitary Sewer Televised/ft. | 4,077 | 40,711 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 7 | 47 |
| Locates | 907 | 4,307 |
| Pipe Patches | 0 | 0 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 14 | 0 | 0 | 14 | 0 | 0 |

Sanitary Sewer Overflow Monitoring
There were 0 rain events that required Stantec monitoring.

Preventative and Unscheduled Maintenance
25 preventative work orders were completed and 9 corrective work orders were issued for the Collection System.

Construction Highlights	
# Manhole Repairs		#Manhole Installations	#Pipe Patches
	1				0				0
#Main Line Repairs		#Lateral Repairs		Easement Maintenance
	1				3				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Wick’s Pizza and the Hitching Post.  FOG management.

Scheduled Preventative
Basin #27 – Oxford Dr.

Monthly Routine Cleaning and CCTV							
Basin #7 – 40ft		Basin #10 – 120ft	Basin #17 – 140ft	Basin #30 – 188ft	
Basin #23 – 393ft	Basin #30 – 188ft	Basin #32 – 2,429ft	Basin #41 – 202ft

Facility Safety
The monthly safety inspection rating was 98.44%

Projects

Reline New Albany
No lining in June

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Silver Hills Slope Project/Dent Ave. Lift Station
No activty

CLAIMS:

Mrs. Moeller presented the following claims for the period of 9/10/20 to 09/23/20 in the amount of $172,195.55

| Sewer Claims | Amount | Dept. |
| --- | --- | --- |
| CK REAL ESTATE LLC | 2,979.16 | SEW |
| CK REAL ESTATE LLC | 541.66 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| Total | 4,080.82 |  |
| ACE HARDWARE | 21.99 | WWTP |
| ACE HARDWARE | 15.27 | WWTP |
| ACE HARDWARE | 17.98 | WWTP |
| ACE HARDWARE | 14.38 | WWTP |
| ACE HARDWARE | 14.77 | WWTP |
| ACE HARDWARE | 7.25 | WWTP |
| ACE HARDWARE | 19.96 | WWTP |
| ACE HARDWARE | 18.97 | WWTP |
| ACE HARDWARE | 273.54 | WWTP |
| ACE HARDWARE | 137.90 | WWTP |
| ACE HARDWARE | 26.97 | WWTP |
| ACE HARDWARE | 6.97 | WWTP |
| DAN CRISTIANI EXCAVATING CO. | 69,187.94 | WWTP |
| BLACK DIAMOND | 65.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| FED EX | 44.69 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 940.00 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 940.00 | WWTP |
| CLARK-FLOYD LANDFILL LLC. | 15,966.18 | WWTP |
| QUILL | 127.96 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| CLARK-DIETZ | 6,017.50 | WWTP |
| CULLIGAN WATER SYSTEMS | 80.00 | WWTP |
| ORR SAFETY EQUIPMENT CO. | 380.00 | WWTP |
| ORR SAFETY EQUIPMENT CO. | 217.34 | WWTP |
| ORR SAFETY EQUIPMENT CO. | 1,350.00 | WWTP |
| EARTH FIRST | 1,069.58 | WWTP |
| STEMLER PLUMBING, INC | 210.95 | WWTP |
| BYRNE'S GARAGE INC. | 821.01 | WWTP |
| GREENWELL PLUMBING | 485.00 | WWTP |
| GRAINGER | 368.80 | WWTP |
| GRAINGER | 82.10 | WWTP |
| GRAINGER | 282.60 | WWTP |
| GRAINGER | 352.80 | WWTP |
| GRAINGER | 111.30 | WWTP |
| ALLIED TECHNICAL SVCS, INC | 1,589.00 | WWTP |
| USA BLUE BOOK | 167.46 | WWTP |
| USA BLUE BOOK | 103.95 | WWTP |
| USA BLUE BOOK | 618.30 | WWTP |
| BIOCHEM, INC. | 4,367.03 | WWTP |
| BIOCHEM, INC. | 2,439.96 | WWTP |
| OFFICE DEPOT | 154.30 | WWTP |
| HOME DEPOT | 119.00 | WWTP |
| HOME DEPOT | 131.92 | WWTP |
| KENTUCKIANA WIRE ROPE & SUPPLY | 148.57 | WWTP |
| AIRGAS-MID AMERICA | 153.82 | WWTP |
| JACOBI OIL SERVICE, INC. | 3,871.80 | WWTP |
| RIVER CITY WORK WEAR | 159.96 | WWTP |
| IDEXX DISTRIBUTION, INC | 1,101.57 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| TEAM EJP JEFFERSONVILLE | 206.12 | WWTP |
| TEAM EJP JEFFERSONVILLE | 182.00 | WWTP |
| GOTTA GO INC. | 1,602.00 | WWTP |
| GOTTA GO INC. | 2,670.00 | WWTP |
| GOTTA GO INC. | 2,670.00 | WWTP |
| GOTTA GO INC. | 2,670.00 | WWTP |
| COVERALL SERVICE COMPANY | 1,075.00 | WWTP |
| ALLTERRAIN PAVING & CONSTRUCT | 10,033.00 | WWTP |
| SCHWALM USA LLC | 79.00 | WWTP |
| HERITAGE PETROLEUM, LLC | 1,976.52 | WWTP |
| HERITAGE PETROLEUM, LLC | 3,959.71 | WWTP |
| WISE SAFETY & ENVIRONMENTAL | 526.32 | WWTP |
| VALVOLINE, LLC | 127.47 | WWTP |
| VALVOLINE, LLC | 99.41 | WWTP |
| WESTERN FIRST AID & SAFTEY | 998.95 | WWTP |
| WESTERN FIRST AID & SAFTEY | 109.27 | WWTP |
| WESTERN FIRST AID & SAFTEY | 998.95 | WWTP |
| BMV ELECTRIC COMPANY, LLC. | 1,957.50 | WWTP |
| Total | 147,132.28 |  |
| GIBSON LAW OFFICE, LLC | 527.18 | TU |
| QUILL | 32.76 | TU |
| QUILL | 122.57 | TU |
| QUILL | 39.99 | TU |
| QUILL | 101.99 | TU |
| QUILL | 20.79 | TU |
| QUILL | 23.16 | TU |
| QUILL | 33.98 | TU |
| QUILL | 363.97 | TU |
| ORR SAFETY EQUIPMENT CO. | 113.74 | TU |
| ORR SAFETY EQUIPMENT CO. | 214.37 | TU |
| ORR SAFETY EQUIPMENT CO. | 978.14 | TU |
| GRAINGER | 184.68 | TU |
| SPECTRUM BUSINESS | 155.91 | TU |
| INDIANA AMERICAN WATER | 821.98 | TU |
| GIBSON LAW OFFICE, LLC | 638.55 | TU |
| DELL MARKETING L.P. | 5,118.65 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.05 | TU |
| SILVER CREEK WATER | 15.40 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 17.03 | TU |
| SILVER CREEK WATER | 1,323.60 | TU |
| CLARK CO. REMC | 134.48 | TU |
| CLARK CO. REMC | 188.69 | TU |
| CLARK CO. REMC | 394.23 | TU |
| CLARK CO. REMC | 142.15 | TU |
| CLARK CO. REMC | 156.04 | TU |
| VERIZON WIRELESS | 2,625.71 | TU |
| HARRISON CO. REMC | 457.54 | TU |
| HARRISON CO. REMC | 42.62 | TU |
| HARRISON CO. REMC | 104.06 | TU |
| AMERICAN WATER | 1,650.00 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 27.39 | TU |
| AT&T | 67.24 | TU |
| EDWARDSVILLE WATER CO. | 17.00 | TU |
| DUKE ENERGY | 29.45 | TU |
| DUKE ENERGY | 238.98 | TU |
| CROWN SERVICES INC | 1,240.00 | TU |
| QUADIENT FINANCE USA, INC. | 24.00 | TU |
| CONSTELLATION NEWENERGY | 44.31 | TU |
| SPECTRUM BUSINESS | 724.90 | TU |
| SPECTRUM BUSINESS | 128.29 | TU |
| SPECTRUM BUSINESS | 1,543.53 | TU |
| Total | 20,982.45 |  |
| Grand Total | 172,195.55 |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, motion carries.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:29 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk