THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WAS HELD VIA ZOOM.COM ON THURSDAY, JANUARY 28, 2021 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, President. 

ALSO PRESENT:  April Dickey, Linda Moeller, Wes Christmas, Rob Sartell, and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the January 14, 2021 Regular Meeting Minutes, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

Mrs. Dickey presented a leak adjustment request for Thomas Scara in the amount of $2,265.60 for a leak that occurred in the front yard between the house and the street. She explained that the water went into the ground, the leak was repaired by Greenwell Plumbing and their usage is back to normal. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

Mrs. Dickey presented a leak adjustment request for Kiera Celestino in the amount of $1,136.64 for a leak that occurred in the front of their home by the main entrance. She explained that the water went into the ground, the leak was repaired by the homeowner and their usage is back to normal. Supporting documents are attached.

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

Mrs. Dickey presented a leak adjustment request for Donald Smith in the amount of $1,831.68 for a leak that occurred in the main line between the meter and the shut off valve. She explained that the water went under the rock patio, the leak was repaired by Greenwell Plumbing and their usage is back to normal. Supporting documents are attached.

Mr. Grimes moved to approve, Mr. Wilkinson second, all voted in favor.

FINANCIAL REPORT:

Mr. Wilkinson reported that the January billing came in at $1,075,000.00 which is a bit short but it will level out next month and everything else is in order.

OLD BUSINESS:

- Clark Dietz

Mr. Christmas – Basin 13 Lift Station – he reported that the plans for this as well as the IDEM construction permit are complete and in hand. He stated that it is ready to be bid at the board’s discretion and if they board is ready they can have the first advertisement out in the middle of February.

Mr. Wilkinson asked if he has an estimate on this.

Mr. Christmas stated that the engineers estimate is $250,000.00

Mr. Grimes asked Mr. Christmas to email him the plans. He asked if there was any reason that the board would want to hold off on moving forward.

Mr. Wilkinson replied that the main issue is cash flow.

Mr. Christmas explained that typically it would be about 30 days from now before they receive bids and after they are opened they are allowed up to 60 days to evaluate before it is awarded so realistically it is 90 days at the earliest before they have an executed contract with the contractor if they use the max amount of time.

Mr. Wilkinson moved to approve putting the project out for bid, Mr. Grimes second, all voted in favor.

Mr. Christmas – Silver Hills Update – he reported that they are waiting for a startup to be completed on the station and stated that they have tried a couple of times unsuccessfully for various reasons. He added that they believe the next attempt is going to be next week and they have addressed most of the outstanding items from the original punch list. Basin 16 Smoke Testing – he reported that all he information from this testing has been compiled and they will meet with Mr. Sartell to review the results and discuss any actions that need to be taken.

UTILITY REPORT:

Wastewater Utility Monthly Report Summary for October 2020

Influent / Effluent Quality
The treatment plant was in full compliance with the NPDES permit.

Pretreatment
There were 12 grease trap inspections submitted.
Annual inspections took place at the following permitted dischargers; Wise Technical, Hitachi, Versa, Sazerac and Bluegrass Chemical.

Facililty Operations
89 dry tons of bio solids were removed from the WWTP.
The WWTP was at 36% of its Total Suspended Solids design limit and at 47% of its CBOD design limit.  
There were 5.68 inches of rain for the month

Preventative and Unscheduled Maintenance
206 preventative work orders were completed and 25 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Topped off generator fuel tanks at Charlestown Road, Cobbler’s Crossing, Quarry Road and Old Ford Road Lift Stations. Reset generator at Bellmeade Lift Station. 
Had the motor rebuilt on the #3 Aeration Blower. 
Replaced the communication module for the SCADA System at Reflection Lake Lift Station.   
Cleaned control floats at Old Ford Road and Reflection Lake Lift Stations and the Multitrode Control Rod at Charlestown Road Lift Station.
Rebuilt #2 pump at McLean Lift Station.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 5,164 | 71,009 |
| Sanitary Sewer Televised/ft. | 2,054 | 53,171 |
| CIPP Installed/ft | 0 | 0 |
| Tap Inspections | 9 | 79 |
| Locates | 962 | 7,565 |
| Pipe Patches | 3 | 8 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 30 | 0 | 2 | 17 | 0 | 11 |

Sanitary Sewer Overflow Monitoring
There was 1 rain event that required Stantec monitoring. There was one overflow reported. That overflow was caused by equipment failure not rain related.

Preventative and Unscheduled Maintenance
23 preventative work orders were completed and 11 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

0				0				3

#Main Line Repairs		#Lateral Repairs		Easement Maintenance

1				1				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Parlour Pizza and the Hitching Post.  FOG management.

Scheduled Preventative Maintenance
Basin #17 – Fenwick Dr.	Basin #19 – Maevi Dr.		Basin #16 – Terry Lane
Basin #11 Griffin St.		Basin #22 – Ashley Ct.

Monthly Routine Cleaning and CCTV	
Basin #7 – 150ft.	Basin #16 – 200ft.	Basin #23 – 563ft.	Basin #32 – 550ft.	
Basin #35 – 91ft

Facility Safety
The monthly safety inspection rating was 99.22%. Safety training covered Slips, Trips and Falls

Projects

Reline New Albany
No lining in September

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved

Silver Hills Slope Project/Dent Ave. Lift Station
No Activity Reported

Mr. Sartell reported that he will be meeting with representatives from Herman Kittle and their engineering firm that is working on the Monon Crossing projet. He explained that that they are attempting to install a pump station that doesn’t meet City specifications and he has directed them to stop any and all work until they can come to some conclusion. He added that he will keep the board updated as they move forward.

Mr. Grimes asked Mr. Sartell to give them some background on this.

Mr. Sartell explained that from what he is understanding they thought that once they got IDEM approval that is all they needed. He added that he isn’t sure how they came to that conclusion because very early on in the project they were directed to the design manual which details all the City’s requirements.

Mayor Gahan asked Mr. Sartell for an update on COVD with the plant and if they are all doing okay.

Mr. Sartell reported that they have one individual still out fighting with the aftereffects of COVID and they are monitoring that situation.

CLAIMS:

Mrs. Moeller presented the following claims for the period of 01/07/20 to 01/18/21 in the amount of $721,038.93:

| Sewer Claims | Amount | Dept |
| --- | --- | --- |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| FLOYD COUNTY RECORDER | 1,250.00 | SEW |
| NEW DIRECTIONS HOUSING CORP. | 322.56 | SEW |
| ASSURED NL INSURANCE AGENCY | 100.00 | SEW |
| ASSURED NL INSURANCE AGENCY | 150.00 | SEW |
| CROWN SERVICES INC | 956.00 | SEW |
| SECURITY PROS, LLC | 62.00 | SEW |
| CK REAL ESTATE LLC | 2,979.16 | SEW |
| CK REAL ESTATE LLC | 541.66 | SEW |
| HUGHES,CARMEN - ATLAS CLEANING | 560.00 | SEW |
| GRUBE, AARON | 822.68 | SEW |
| WILLIAMS, RENEE | 68.48 | SEW |
| SAUERHEBER, JOHN & TERESA | 11.53 | SEW |
| BIBLE COMMUNITY CHURCH | 45.30 | SEW |
| ROTHENBERGER, LIZ | 28.04 | SEW |
| CAHALAN, ANTHONY | 35.16 | SEW |
| HULS, RANDY | 96.60 | SEW |
| DEVARENNE, MATT | 78.06 | SEW |
| Total | 18,107.23 |  |
| ACE HARDWARE | 13.97 | WWTP |
| ACE HARDWARE | 118.31 | WWTP |
| BLACK DIAMOND | 65.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| FED EX | 46.00 | WWTP |
| MURPHY ELEVATOR COMPANY, INC. | 168.46 | WWTP |
| QUILL | 4.99 | WWTP |
| QUILL | 140.63 | WWTP |
| QUILL | 155.23 | WWTP |
| QUILL | 277.99 | WWTP |
| QUILL | 201.95 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| CINTAS #302 | 84.76 | WWTP |
| BANK OF NEW YORK MELLON | 750.00 | WWTP |
| AEBERSOLD FLORIST | 86.99 | WWTP |
| CULLIGAN WATER SYSTEMS | 80.00 | WWTP |
| EARTH FIRST | 68.84 | WWTP |
| FRAKES ENGINEERING | 606.00 | WWTP |
| GRAINGER | 281.36 | WWTP |
| USA BLUE BOOK | 329.79 | WWTP |
| BIOCHEM, INC. | 4,333.96 | WWTP |
| BIOCHEM, INC. | 4,367.03 | WWTP |
| GRIPP, INC. | 1,388.00 | WWTP |
| GRIPP, INC. | 7,874.66 | WWTP |
| METRO ANSWERING SERIVCE | 129.50 | WWTP |
| EYE-TRONICS | 895.53 | WWTP |
| HOME DEPOT | 99.96 | WWTP |
| JACOBI OIL SERVICE, INC. | 225.40 | WWTP |
| RIVER CITY WORK WEAR | 52.99 | WWTP |
| RIVER CITY WORK WEAR | 2,009.84 | WWTP |
| NCL OF WISCONSIN INC | 212.85 | WWTP |
| NCL OF WISCONSIN INC | 46.03 | WWTP |
| HACH COMPANY | 305.38 | WWTP |
| ECO-TECH, LLC-WASTE LOGISTICS | 396.25 | WWTP |
| ENVIRONMENTAL LABORATORIES INC | 30.00 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 287.00 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 517.30 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 14.40 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 178.90 | WWTP |
| NAPA OF NEW ALBANY | (6.57) | WWTP |
| NAPA OF NEW ALBANY | 24.12 | WWTP |
| SOURCE 1 ENVIRONMENTAL, LLC | 5,791.85 | WWTP |
| GOTTA GO INC. | 1,068.00 | WWTP |
| GOTTA GO INC. | 801.00 | WWTP |
| COVERALL SERVICE COMPANY | 1,075.00 | WWTP |
| COVERALL SERVICE COMPANY | 1,075.00 | WWTP |
| EMR-ELECTRIC MOTOR REPAIR | 5,700.00 | WWTP |
| MEKA LEASING INC | 7,362.00 | WWTP |
| VALVOLINE, LLC | 110.49 | WWTP |
| MSDSONLINE DBA VELOCITYEHS | 2,899.00 | WWTP |
| WESTERN FIRST AID & SAFTEY | 178.84 | WWTP |
| BMV ELECTRIC COMPANY, LLC. | 1,657.00 | WWTP |
| PURE WATER PARTNERS, LLC. | 1,215.00 | WWTP |
| Total | 55,949.54 |  |
| INDIANA AMERICAN WATER | 39.99 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 150.12 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 12.51 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 875.70 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| GIBSON LAW OFFICE, LLC | 512.33 | TU |
| CITY OF NEW ALBANY | 118,000.00 | TU |
| CITY OF NEW ALBANY | 18,750.00 | TU |
| BANK OF NEW YORK TRUST CO. | 461,082.00 | TU |
| MIKE SMITH FIRESTONE | 210.00 | TU |
| FLOYDS KNOBS WATER | 500.00 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 27.39 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 25.60 | TU |
| FLOYDS KNOBS WATER | 27.39 | TU |
| AT&T | 77.08 | TU |
| AT&T | 67.24 | TU |
| AT&T | 301.84 | TU |
| DUKE ENERGY | 50.53 | TU |
| DUKE ENERGY | 3,335.52 | TU |
| DUKE ENERGY | 70.19 | TU |
| DUKE ENERGY | 82.27 | TU |
| DUKE ENERGY | 217.85 | TU |
| DUKE ENERGY | 1,259.82 | TU |
| DUKE ENERGY | 111.27 | TU |
| DUKE ENERGY | 868.14 | TU |
| DUKE ENERGY | 1,073.61 | TU |
| DUKE ENERGY | 61.66 | TU |
| DUKE ENERGY | 639.52 | TU |
| DUKE ENERGY | 502.12 | TU |
| CROWN SERVICES INC | 616.00 | TU |
| CARD SERVICES | 16.99 | TU |
| QUADIENT FINANCE USA, INC. | 129.01 | TU |
| QUADIENT FINANCE USA, INC. | 16.00 | TU |
| RILEY, REGINALD | 25.00 | TU |
| RILEY, REGINALD | 111.00 | TU |
| RILEY, REGINALD | 125.00 | TU |
| RILEY, REGINALD | 50.00 | TU |
| SPECTRUM BUSINESS | 109.98 | TU |
| ADS SECURITY, L.P. | 360.00 | TU |
| ROACH, TERESA | 14.72 | TU |
| BLACK DIAMOND | 65.00 | TU |
| BLACK DIAMOND | 45.00 | TU |
| BLACK DIAMOND | 45.00 | TU |
| POSTMASTER | 30,000.00 | TU |
| AMERICAN WATER | 1,650.00 | TU |
| CROWN SERVICES INC | 864.00 | TU |
| WEX BANK | 1,928.25 | TU |
| AT&T | 89.53 | TU |
| AT&T | 64.01 | TU |
| SPECTRUM BUSINESS | 88.81 | TU |
| SPECTRUM BUSINESS | 1,543.69 | TU |
| Total | 646,982.16 |  |
| Grand Total | 721,038.93 |  |

Mr. Wilkinson moved to approve the above claims, Mr. Grimes second, all voted in favor.

ADJOURN:

Mayor Gahan reminded everyone to wear their masks, wash their hands, maintain social distance and encouraged them to get their vaccination as fast as they can.

There being no further business before the board, the meeting adjourned at 9:31 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk