THE SEWER BOARD MEETING OF THE CIVIL CITY OF NEW ALBANY, INDIANA, WILL BE HELD VIA ZOOM.COM ON THURSDAY, SEPTEMBER 9, 2021 AT 9:15 A.M.

PRESENT: Ed Wilkinson, member, Nathan Grimes, member and Mayor Gahan, president. 

ALSO PRESENT:  April Dickey, Linda Moeller, Larry Summers Rob Sartell, and Vicki Glotzbach

CALL TO ORDER:

Mayor Gahan called the meeting to order at 9:15 a.m.

PLEDGE OF ALLEGIANCE:

APPROVAL OR CORRECTION OF THE FOLLOWING MINUTES:

Mr. Grimes moved to approve the August 26, 2021 Regular Meeting Minutes, Mr. Wilkinson second, all voted in favor.

BIDS/CONTRACTS:

NEW BUSINESS:

COMMUNICATIONS - PUBLIC:

COMMUNICATIONS - CITY OFFICIALS:

SEWER ADJUSTMENTS:

FINANCIAL REPORT:

Mr. Wilkinson reported that the income in right on budget and the operating expenses are running ~9% below budget.

TABLED ITEMS:

OLD BUSINESS:

1. Clark Dietz

Mr. Christmas – Silver Hills – he reported that the contractor finished the re-work and they were able to vacuum test the manholes as well deflection test the line that was re-worked. He added that all of that has been completed and passed. He reported that the only outstanding item is that they are waiting on the O&M Manuals and record drawings. He reported that they have a draft MPDS permit renewal that is being reviewed today by their staff and once that review is complete they will forward it on to the city for review so that they can make sure it is ready to be submitted by the first of October. Weberpal – he reported that they are still discussing alternatives to make this a cost effective solution. Basin 13 – he reported that the last he heard it was going to be early October before they received the equipment to begin construction.

UTILITY REPORT:

Rob Sartell re: Wastewater Utility Monthly Report Summary for June 2021

Mr. Sartell reported on the following

Influent / Effluent Quality
The treatment plant was in full compliance for the month of May.

Pretreatment
There were 29 grease trap inspections submitted.
A notice of violation was sent to Hitachi for exceeding Oil and Grease daily limits.

Facililty Operations
 96 dry tons of bio solids were removed from the WWTP.
The WWTP was at 28% of its Total Suspended Solids design limit and at 29% of its CBOD design limit.  
There were 3.24 inches of rain for the month

Preventative and Unscheduled Maintenance
259 preventative work orders were completed and 14 corrective work orders were completed for the WWTP and Lift Stations

Highlights
Maintenance cleaned control floats at the following Lift Stations; Reflection Lake and Crystal Creek.
Maintenance performed a Confined Space Entry to adjusted the #1 Raw Bar Screen.
Maintenance replaced the transducer level controller to the #110 Raw Wastewater Pump Station. 
Gripp Inc. replaced 2 flow meters at the #610 effluent/UV structure.
Maintenance replaced the belt on the #720 conveyor belt system #2.

Sanitary Collection System

| Project | Current Month | Year-to-Date |
| --- | --- | --- |
| Sanitary Sewer Flushed/ft | 20,193 | 117,914 |
| Sanitary Sewer Televised/ft. | 17,367 | 87,343 |
| CIPP Installed/ft | 105 | 105 |
| Tap Inspections | 13 | 68 |
| Locates | 907 | 4,657 |
| GIS Pipe Additions/ft | 10,826 | 61,565 |
| GIS MH Additions/# | 38 | 272 |
| Pipe Patches | 1 | 12 |
| Service Requests | Odor Complaint | Main Block | Resident Problem | Dye Test | Emergency Locates |
| 37 | 1 | 1 | 21 | 0 | 13 |

Preventative and Unscheduled Maintenance
10 preventative work orders were completed and 26 corrective work orders were issued for the Collection System.

Construction Highlights

# Manhole Repairs		#Manhole Installations	#Pipe Patches

8				1				1

#Main Line Repairs		#Lateral Repairs		Easement Maintenance

1				5				0

Annual/Semi Annual, Monthly Routine and Preventative Sewer Cleaning
The Line in the alley serving the Exchange, Parlour Pizza and the Hitching Post.  FOG management.

Scheduled Preventative Maintenance
Basin #2 – 2500 Spring Ave. 		Basin #27 – Oxford Dr.	Basin #14 – Cherokee Dr.	
Basin #20 – Village Pines Dr.

Chemical Root Treatment
Basin #20 – Greenbrier Dr.	Basin #2 – Glenwood Ct.	Basin #2 – Elm St.
Basin #13 – Lynn Rd.								

Monthly Routine Cleaning
Basin #2 – 220ft.	Basin #5 – 371ft.	Basin #6 – 648ft.	Basin #7 – 183ft.
Basin #9 – 318ft		Basin #13 – 700ft.	Basin #14 – 153ft.	Basin #16 - 276ft.
Basin #17 – 2,540ft.	Basin #18 - 550ft.	Basin #21 – 4,910ft.	Basin #22 - 451ft.
Basin #23 – 162ft.	Basin #26 – 2,860ft.	Basin #27 – 455ft.

Facility Safety
The monthly safety inspection rating was 99.22%. Safety training covered Trenching and Shoring.

Projects

Reline New Albany
Lined 105 feet in June

Up Hill Run Lift Station
Preliminary design work is at 90%. Land aquisistion has been achieved. IDEM Permit has been reapproved and bid schedule is being created.

Silver Hills Slope Project/Dent Ave. Lift Station
Project has exceeded the Substantial Completion Date. Final clean up still to be completed

Basin #13 Lift Station

EZ Construction was awarded the low bid on May the 3rd. Waiting on equipment delivery

CLAIMS:

Mrs. Moeller presented the Sewer Claims Docket for 08/26/21-09/08/21 in the amount of $909,213.32

| Sewer Claims | Amount | Dept |
| --- | --- | --- |
| L&D MAILMASTERS, INC. | 1,385.39 | SEW |
| L&D MAILMASTERS, INC. | 2,507.95 | SEW |
| VT INDUSTRIES, INC. | 960.00 | SEW |
| Total | 4,853.34 |  |
| JEFFREY CUMMINS | 2,072.37 | WWTP |
| DAN CRISTIANI EXCAVATING CO. | 44,236.00 | WWTP |
| BLACK DIAMOND | 65.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| BLACK DIAMOND | 45.00 | WWTP |
| QUILL | 31.56 | WWTP |
| QUILL | 382.33 | WWTP |
| QUILL | 28.50 | WWTP |
| QUILL | 232.00 | WWTP |
| CINTAS #302 | 92.57 | WWTP |
| CINTAS #302 | 92.57 | WWTP |
| FASTENAL COMPANY | 145.21 | WWTP |
| CLARK-DIETZ | 8,000.00 | WWTP |
| CLARK-DIETZ | 8,490.00 | WWTP |
| STEMLER PLUMBING, INC | 280.00 | WWTP |
| BYRNE'S GARAGE INC. | 109.17 | WWTP |
| BYRNE'S GARAGE INC. | 449.98 | WWTP |
| BYRNE'S GARAGE INC. | 265.82 | WWTP |
| BEAM, LONGEST AND NEFF LLC | 9,816.00 | WWTP |
| USA BLUE BOOK | 68.75 | WWTP |
| USA BLUE BOOK | 302.99 | WWTP |
| USA BLUE BOOK | 330.84 | WWTP |
| BIOCHEM, INC. | 9,525.84 | WWTP |
| BIOCHEM, INC. | 3,396.38 | WWTP |
| SPENCER MACHINE & TOOL CO.,INC | 1,095.00 | WWTP |
| CRUM'S HEATING & COOLING | 328.00 | WWTP |
| RIVER CITY WORK WEAR | 105.99 | WWTP |
| RIVER CITY WORK WEAR | 298.94 | WWTP |
| NCL OF WISCONSIN INC | 966.32 | WWTP |
| NCL OF WISCONSIN INC | 481.69 | WWTP |
| BIG G SUPPLY | 89.50 | WWTP |
| BIG G SUPPLY | 125.00 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ELEMENT MATERIALS TECHNOLOGY | 23.80 | WWTP |
| ULINE | 583.20 | WWTP |
| ULINE | 1,190.63 | WWTP |
| TEAM EJP JEFFERSONVILLE | 1,301.55 | WWTP |
| GOTTA GO INC. | 1,602.00 | WWTP |
| VALVOLINE, LLC | 84.98 | WWTP |
| VALVOLINE, LLC | 76.49 | WWTP |
| CERTIFIED PROTECTION SERVICES | 5,091.14 | WWTP |
| WESTERN FIRST AID & SAFTEY | 144.17 | WWTP |
| WESTERN FIRST AID & SAFTEY | 702.27 | WWTP |
| 14 MILE COMPANY LLC | 1,680.00 | WWTP |
| FLACK INDUSTRIES, LLC. | 2,200.00 | WWTP |
| BOYD COMPANY | 1,195.00 | WWTP |
| Total | 107,893.35 |  |
| INDIANA AMERICAN WATER | 55.43 | TU |
| INDIANA AMERICAN WATER | 44.99 | TU |
| INDIANA AMERICAN WATER | 50.21 | TU |
| INDIANA AMERICAN WATER | 44.99 | TU |
| INDIANA AMERICAN WATER | 130.00 | TU |
| INDIANA AMERICAN WATER | 47.08 | TU |
| INDIANA AMERICAN WATER | 21.99 | TU |
| INDIANA AMERICAN WATER | 21.99 | TU |
| INDIANA AMERICAN WATER | 331.25 | TU |
| INDIANA AMERICAN WATER | 44.99 | TU |
| SHERWIN-WILLIAMS | 10.58 | TU |
| POSTMASTER | 25,000.00 | TU |
| DELL MARKETING L.P. | 892.17 | TU |
| DELL MARKETING L.P. | 1,264.63 | TU |
| DUKE ENERGY | 50.15 | TU |
| DUKE ENERGY | 55,959.95 | TU |
| DUKE ENERGY | 677.71 | TU |
| DUKE ENERGY | 586.47 | TU |
| DUKE ENERGY | 146.53 | TU |
| CROWN SERVICES INC | 640.00 | TU |
| CARD SERVICES | 233.36 | TU |
| CARD SERVICES | 471.86 | TU |
| ALLTERRAIN PAVING & CONSTRUCT | 875.00 | TU |
| ALLTERRAIN PAVING & CONSTRUCT | 50.00 | TU |
| ALLTERRAIN PAVING & CONSTRUCT | 1,549.70 | TU |
| GIBSON LAW OFFICE, LLC | 564.30 | TU |
| INDIANA AMERICAN WATER | 21.99 | TU |
| INDIANA AMERICAN WATER | 21.99 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| NEW ALBANY MUNICIPAL UTILTIES | 4.17 | TU |
| STORMWATER\DRAINAGE FUND | 70,177.22 | TU |
| SANITATION FUND | 180,109.19 | TU |
| BANK OF NEW YORK TRUST CO. | 451,835.00 | TU |
| AT&T | 203.98 | TU |
| AT&T | 1,574.80 | TU |
| DUKE ENERGY | 167.86 | TU |
| DUKE ENERGY | 27.71 | TU |
| DUKE ENERGY | 1,010.17 | TU |
| DUKE ENERGY | 98.90 | TU |
| DUKE ENERGY | 609.17 | TU |
| CROWN SERVICES INC | 640.00 | TU |
| SPECTRUM BUSINESS | 114.98 | TU |
| MALLORY SAFETY AND SUPPLY, LLC | 71.66 | TU |
| Total | 796,466.63 |  |
| Grand Total | 909,213.32 |  |

Mr. Wilkinson moved to approve, Mr. Grimes second, all voted in favor.

ADJOURN:

There being no further business before the board, the meeting adjourned at 9:24 a.m.

_____________________________			____________________________

Mayor Gahan, President				Vicki Glotzbach, City Clerk